# FreeSurfer, QSIPrep, and QSIRecon: underlying tools, publications, and innovations

A 12th-grade-level guide with paper summaries, rendered equations, and line-by-line code

## Purpose

This document explains the relationship between software commands, scientific algorithms, and published papers in FreeSurfer, QSIPrep, and QSIRecon. These levels are related, but they are not interchangeable:

Scientific method described in one or more papers
                         ↓
Software implementation, often containing several executables
                         ↓
Orchestration workflow that selects and connects those executables

An executable is not necessarily an independently published method. Some commands implement a method with a dedicated paper; others are utilities or components of a larger method described across several publications.

## Short answer

No, every FreeSurfer executable does not come from its own independent paper.

Some commands have a closely corresponding methods paper, such as

mri_watershed.

Some implement algorithms described in broader FreeSurfer publications, such

as atlas-based segmentation and cortical surface reconstruction.

Some are engineering utilities, such as mri_convert, and do not require a

separate scientific publication.

Some wrap or adapt methods developed outside FreeSurfer, such as N3 bias-field

correction.

QSIPrep and QSIRecon follow a similar model. They integrate many independently published tools but also contribute original workflow logic, interfaces, quality-control methods, data transformations, and—in QSIPrep's case—the SHORELine motion-correction method. Their innovation is not limited to writing new mathematical algorithms from scratch.

## What “from scratch” means in scientific software

There are several forms of innovation:

New scientific algorithm: a new mathematical or statistical method.

New implementation: software implementing a known method.

New integration: connecting existing methods into a valid end-to-end

workflow.

New standardization: consistent inputs, outputs, metadata, and

provenance.

New automation: automatically selecting methods from acquisition

metadata.

New validation: demonstrating performance across datasets and acquisition

schemes.

New accessibility: packaging complex methods so they can be reproduced

reliably.

QSIPrep and QSIRecon contain several of these forms. Calling them “only wrappers” would understate their contribution, but saying that they invented all underlying algorithms would also be incorrect.

# FreeSurfer and recon-all

## What recon-all is

recon-all is a shell-based workflow controller. It runs many FreeSurfer executables in a specific order, tracks completed stages, and supports restarting parts of the anatomical reconstruction.

The workflow includes:

Input conversion and conformation.

Motion correction when multiple anatomical images are provided.

Bias-field correction and intensity normalization.

Atlas registration.

Skull stripping.

White-matter segmentation.

Surface tessellation and topology correction.

White- and pial-surface placement.

Spherical registration.

Cortical parcellation.

Volumetric label creation.

Regional statistics.

The scientific FreeSurfer method is distributed across this workflow. It should usually be cited with the relevant core FreeSurfer papers, not with an independent paper for every command.

## mri_convert

### Function

mri_convert converts image formats, data types, voxel orientations, and image geometry. recon-all uses conversion and conformation operations to prepare input images.

### Publication status

This is primarily a software utility. It does not represent a distinct neuroanatomical algorithm with its own foundational methods paper.

### Appropriate citation

When used as part of recon-all, cite FreeSurfer and report the FreeSurfer version. A separate methodological citation for mri_convert is generally not needed.

## mri_robust_template and robust registration

### Function

This family of tools creates an unbiased within-subject template from repeated anatomical scans and supports robust, inverse-consistent registration.

### Publication basis

The robust registration and longitudinal-template methods are described in:

Reuter M, Rosas HD, Fischl B. **Highly accurate inverse consistent

registration: a robust approach.** *NeuroImage*. 2010.

Reuter M, Schmansky NJ, Rosas HD, Fischl B. **Within-subject template

estimation for unbiased longitudinal image analysis.** *NeuroImage*. 2012.

### Interpretation

The paper describes the general method; the executable is its software implementation. It is not necessary to treat every mode or option as a separate published method.

## mri_nu_correct.mni

### Function

This command corrects slowly varying intensity nonuniformity in anatomical MRI.

### Publication basis

It uses or wraps the MNI N3 method:

Sled JG, Zijdenbos AP, Evans AC. **A nonparametric method for automatic

correction of intensity nonuniformity in MRI data.** *IEEE Transactions on Medical Imaging*. 1998.

### Interpretation

N3 was developed outside FreeSurfer. FreeSurfer incorporated it into its anatomical processing workflow. This is an example of adopting a published external algorithm rather than inventing every processing stage internally.

## talairach_avi

### Function

This stage estimates an initial affine alignment to Talairach-like atlas space. It supplies standardized orientation and initialization for later atlas-based processing.

### Publication status

The command does not have to be understood as a standalone method with one exclusive paper. It derives from established atlas-registration methodology and is part of the broader FreeSurfer reconstruction framework.

### Appropriate citation

Report the FreeSurfer version and cite the FreeSurfer anatomical-processing papers. Additional registration references may be included when the precise algorithm is central to the study.

## mri_watershed

### Function

mri_watershed removes skull and other nonbrain tissue using a hybrid method that combines watershed segmentation with a deformable surface.

### Dedicated methods paper

Ségonne F, Dale AM, Busa E, et al. **A hybrid approach to the skull stripping

problem in MRI.** *NeuroImage*. 2004.

### Interpretation

This is one of the clearest examples of a FreeSurfer command that closely maps to a dedicated methodological publication.

## mri_em_register

### Function

mri_em_register performs linear registration between a participant image and a probabilistic anatomical atlas. It uses expectation-maximization concepts and produces an atlas-alignment transform.

### Publication basis

The method belongs to FreeSurfer's probabilistic atlas and automated segmentation framework, especially:

Fischl B, Salat DH, Busa E, et al. **Whole brain segmentation: automated

labeling of neuroanatomical structures in the human brain.** *Neuron*. 2002.

### Interpretation

The executable is one processing component of the broader atlas-segmentation method. There is not necessarily a unique independent paper corresponding only to this command.

## mri_ca_normalize, mri_ca_register, and mri_ca_label

### Functions

mri_ca_normalize performs atlas-guided intensity normalization.

mri_ca_register performs nonlinear registration to a probabilistic atlas.

mri_ca_label assigns anatomical labels using atlas priors and image

information.

### Publication basis

These operations are based on the FreeSurfer probabilistic atlas and whole-brain segmentation framework described in papers including:

Fischl et al., Whole brain segmentation, 2002.

Fischl B, van der Kouwe A, Destrieux C, et al. **Automatically parcellating

the human cerebral cortex.** *Cerebral Cortex*. 2004.

### Interpretation

The three commands divide a larger scientific method into executable stages. They should not automatically be described as three independently invented or independently published methods.

## mris_make_surfaces and related mris_* tools

### Functions

FreeSurfer's surface tools perform operations such as:

White-surface placement.

Pial-surface placement.

Surface smoothing.

Inflation.

Spherical mapping.

Topology correction.

Surface registration.

Cortical annotation.

### Publication basis

Core publications include:

Dale AM, Fischl B, Sereno MI. **Cortical surface-based analysis I:

segmentation and surface reconstruction.** *NeuroImage*. 1999.

Fischl B, Sereno MI, Dale AM. **Cortical surface-based analysis II:

inflation, flattening, and a surface-based coordinate system.** *NeuroImage*. 1999.

Fischl B, Dale AM. **Measuring the thickness of the human cerebral cortex

from magnetic resonance images.** *Proceedings of the National Academy of Sciences*. 2000.

Fischl B, Liu A, Dale AM. **Automated manifold surgery: constructing

geometrically accurate and topologically correct models of the human cerebral cortex.** *IEEE Transactions on Medical Imaging*. 2001.

### Interpretation

Multiple executables implement different portions of a surface-reconstruction framework described across multiple papers. The mapping is many-to-many rather than one command to one paper.

## mri_aparc2aseg

### Function

This utility combines cortical surface annotations with volumetric segmentation to produce a parcellated anatomical volume such as aparc+aseg.mgz.

### Publication status

The utility itself does not require a dedicated independent methods paper. Its scientific basis comes from:

FreeSurfer surface reconstruction.

FreeSurfer subcortical segmentation.

The selected cortical atlas.

For a Desikan–Killiany atlas, cite Desikan et al. For DKT, cite Klein and Tourville. The atlas citation and the software citation describe different parts of the result.

## mri_segstats

### Function

mri_segstats summarizes voxel counts, volumes, intensity values, and related measurements within labeled regions.

### Publication status

This is primarily an analysis utility. The arithmetic operations do not constitute a separate major scientific method requiring an individual paper.

### Appropriate reporting

Report:

FreeSurfer version.

Input segmentation or atlas.

Measurement definition.

Any normalization, intracranial-volume correction, or exclusion criteria.

## How FreeSurfer should be cited

A study does not normally cite every executable launched by recon-all. Instead:

Cite FreeSurfer's core anatomical and surface-reconstruction papers.

Cite a specialized method when it is central, such as the watershed

skull-stripping paper.

Cite the atlas separately.

Report the software version, important flags, and manual corrections.

# QSIPrep

## What QSIPrep is

QSIPrep is a BIDS-compatible diffusion MRI preprocessing platform. It inspects the acquisition metadata and constructs an appropriate workflow using Nipype. It was introduced in:

Cieslak M, Cook PA, He X, et al. **QSIPrep: an integrative platform for

preprocessing and reconstructing diffusion MRI data.** *Nature Methods*. 2021;18:775–778. DOI: 10.1038/s41592-021-01185-5.

QSIPrep is both integration software and a methods contribution.

## Major independently published components used by QSIPrep

Depending on configuration and version, QSIPrep can invoke:

BIDS and PyBIDS for standardized data description and discovery.

Nipype for constructing and executing workflows.

fMRIPrep/niworkflows-derived code for anatomical workflow patterns,

reporting, transforms, and infrastructure.

MRtrix3 `dwidenoise` using MP-PCA denoising.

MRtrix3 `mrdegibbs` using local subvoxel-shift Gibbs-ringing removal.

FSL `topup` for susceptibility-distortion estimation from opposite

phase-encoding data.

FSL `eddy` for eddy-current, motion, and related correction.

ANTs for anatomical registration and transformations.

N4 bias correction for intensity nonuniformity.

SynthStrip/SynthSeg in newer anatomical workflows.

DSI Studio-derived calculations for diffusion image-quality measures.

DIPY and related Python libraries for diffusion models, resampling, and

image operations.

Each of these packages or algorithms has its own literature. QSIPrep does not claim to have invented MP-PCA, eddy, topup, ANTs, N4, or MRtrix.

## What QSIPrep developed or innovated

### Adaptive BIDS-driven workflow construction

QSIPrep reads acquisition metadata such as:

Phase-encoding direction.

Total readout time.

Available fieldmaps.

Reverse phase-encoding images.

Diffusion sampling scheme.

Image grouping and sessions.

It then constructs a processing workflow appropriate to those inputs. This automation is a substantive contribution because diffusion datasets differ greatly in acquisition design.

### SHORELine

QSIPrep introduced SHORELine, a model-based motion-correction approach designed to handle diffusion sampling schemes that are not naturally supported by shell-specific tools.

SHORELine uses q-space modeling, including 3dSHORE-related predictions, to generate target images for registration. This is a genuine algorithmic contribution associated with the QSIPrep work, not merely an invocation of an external executable.

### Support for diverse q-space sampling

QSIPrep was designed to handle:

Single-shell data.

Multi-shell data.

Cartesian diffusion spectrum imaging.

Random q-space sampling.

Other nonstandard schemes.

It standardizes gradient and image handling so downstream reconstruction tools can consume consistent derivatives.

### Coordinate and gradient consistency

Correctly maintaining b-vectors through motion correction, image transforms, orientation changes, and resampling is scientifically critical. QSIPrep's handling and validation of these transformations are important workflow contributions even though matrix and interpolation operations are not entirely new algorithms.

### Standardized derivatives and visual reports

QSIPrep produces consistent:

Preprocessed DWI data.

Gradient tables.

Reference images.

Brain masks.

Transform files.

Confounds and QC measurements.

Visual reports.

Machine-generated methodological descriptions.

This standardization makes independent reconstruction tools easier to compare and improves reproducibility.

### Cross-dataset validation

The QSIPrep publication evaluated the platform across different diffusion sampling schemes and datasets. Validation of an integrated workflow is itself a scientific contribution because correct individual tools can still produce an incorrect pipeline when coordinate systems, gradients, or transforms are connected improperly.

### Lesion-aware spatial normalization

QSIPrep can automatically detect a correctly named BIDS lesion ROI and use it during ANTs T1w-to-template normalization. The underlying cost-function-masking concept comes from prior lesion-registration research; QSIPrep's contribution is standardized BIDS discovery and workflow integration.

## What QSIPrep generally did not invent

QSIPrep did not invent:

Diffusion MRI.

The diffusion tensor.

MP-PCA denoising.

Gibbs-ringing removal.

FSL eddy or topup.

ANTs registration.

N4 bias correction.

BIDS.

Nipype.

MRtrix3.

It integrates these methods, adds workflow logic and original components, and validates the combined system.

# QSIRecon

## What QSIRecon is

QSIRecon consumes preprocessed diffusion derivatives and builds reconstruction workflows that can produce:

Diffusion models.

Scalar maps.

Orientation or fiber-orientation distributions.

Tractography.

Tractometry.

Atlas-based connectivity.

Tabular summaries.

Current QSIRecon documentation identifies the main citation as the 2021 QSIPrep publication. QSIRecon is therefore not best described as an entirely separate collection of newly invented reconstruction algorithms with a unique paper for every workflow.

## Independently published methods integrated by QSIRecon

Depending on the reconstruction specification, QSIRecon can use:

MRtrix3 for response estimation, CSD, multi-tissue normalization, ACT,

iFOD2, SIFT2, and connectomes.

DIPY for tensor, kurtosis, MAP-MRI, tractography, and related models.

DSI Studio for GQI, quantitative anisotropy, tractography, and AutoTrack.

AMICO for accelerated NODDI estimation.

pyAFQ for automated tractometry.

TORTOISE for diffusion modeling and reconstruction workflows.

FreeSurfer derivatives for anatomy and HSVS tissue construction.

ANTs/NiTransforms for transform application.

TemplateFlow for standardized atlas resources.

The mathematical reconstruction models and tractography algorithms generally come from their respective published methods and software packages.

## Innovations and original contributions of QSIRecon

### Declarative reconstruction specifications

QSIRecon represents workflows as structured YAML specifications. A specification declares:

Which software should perform a node.

Which action or reconstruction should run.

Which upstream output supplies each downstream input.

Which atlases, scalars, bundles, or connectivity outputs should be generated.

QSIRecon interprets this specification and constructs an executable workflow. This separates the scientific recipe from hand-written scripts and makes alternative methods easier to reproduce.

### Interoperability across reconstruction ecosystems

Diffusion packages often use different:

File formats.

Gradient conventions.

Coordinate systems.

Model representations.

Naming systems.

Output layouts.

QSIRecon provides interfaces that allow outputs from one ecosystem to become inputs to another. For example, an MRtrix CSD product can feed a tractography or bundle-analysis stage defined elsewhere in the workflow.

### Standardized use of QSIPrep derivatives

By requiring consistently preprocessed inputs, QSIRecon separates preprocessing variation from reconstruction variation. This enables more defensible comparisons among reconstruction methods.

### Workflow-level provenance

QSIRecon records:

Reconstruction specification.

Software actions.

Parameters.

Input/output relationships.

Generated methodological boilerplate.

BIDS-like derivative naming.

These features are workflow innovations even when the underlying model was published by another group.

### Atlas, scalar, and bundle mapping

QSIRecon provides reusable workflow components for:

Transforming scalar maps to standard spaces.

Mapping atlases into reconstruction space.

Assigning streamlines to atlas regions.

Summarizing model scalars along bundles.

Producing connectivity matrices and tabular outputs.

The underlying registration, tractography, and statistics may not be new, but their generalized representation in a configurable reconstruction framework is an important engineering and reproducibility contribution.

### Curated built-in workflows

QSIRecon provides tested combinations of methods rather than requiring every laboratory to create undocumented shell scripts. Examples include MRtrix single-shell and multi-shell CSD/ACT workflows and specifications using DIPY, DSI Studio, AMICO, or other packages.

### Custom interfaces and glue code

QSIRecon contains original Python and Nipype code for tasks such as:

Discovering and validating derivatives.

Connecting workflow nodes.

Converting representations.

Managing spatial transforms.

Constructing or masking tissue products.

Collecting atlases and connectivity outputs.

Writing provenance and reports.

This code is written by QSIRecon developers, but it does not mean that every scientific algorithm executed by that code was invented by them.

## What QSIRecon generally did not invent

QSIRecon did not invent:

CSD or SS3T-CSD.

ACT.

HSVS.

iFOD2.

SIFT or SIFT2.

The diffusion tensor.

DKI.

GQI.

NODDI.

MAP-MRI.

The anatomical atlases it distributes or retrieves.

It makes these methods configurable, interoperable, reproducible, and easier to apply to standardized data.

# Example: our current QSIRecon specification

The DKT Connectome Pipeline uses:

mrtrix_singleshell_ss3t_ACT-hsvs

The conceptual dependency chain is:

QSIPrep derivatives
        ↓
MRtrix response estimation and single-shell three-tissue CSD
        ↓
FreeSurfer/FastSurfer derivatives + MRtrix HSVS 5TT
        ↓
MRtrix ACT with iFOD2 tractography
        ↓
MRtrix SIFT2
        ↓
QSIRecon atlas connectomes and exported derivatives
        ↓
DKT pipeline's subject-specific DKT connectome and reports

The scientific algorithms in this chain come mainly from MRtrix and FreeSurfer publications. QSIRecon contributes the reconstruction specification, orchestration, interfaces, standardized derivatives, and provenance.

# Implications for the DKT Connectome Pipeline

Our pipeline follows the same scientific-software pattern:

## Methods adopted from published work

QSIPrep preprocessing and lesion-aware normalization.

neuroLIT inpainting.

FreeSurfer/FastSurfer reconstruction.

DKT parcellation.

MRtrix SS3T-CSD, HSVS, ACT, iFOD2, and SIFT2.

Standard graph measurements such as node strength and asymmetry.

## Pipeline-level contributions

Automated BIDS-to-DKT structural-connectome processing.

Dual use of corrected anatomy and the retained original lesion.

Integration of inpainting with FreeSurfer/FastSurfer and QSIRecon.

Subject-specific DKT connectome construction.

Regional lesion-load measurement.

Multiple disconnectome definitions.

Harmonized count, SIFT2, regional volume, strength, and asymmetry outputs.

HPC execution, QC, provenance, and BIDS-derivative export.

## Potential algorithmic or methodological addition

Adding the lesion mask to the fifth ACT 5TT compartment is based on established MRtrix ACT capabilities and lesion-aware literature. Our novelty would lie in:

A reproducible TBI-specific implementation.

Integration with neuroLIT-inpainted anatomy.

Paired standard and lesion-aware tractography.

Validation across heterogeneous TBI lesions.

Demonstration of downstream DKT and disconnectome effects.

This would be an integration and validation contribution, not a claim that we invented ACT or 5ttedit.

# How to write attribution in a manuscript

Avoid statements such as:

We developed a novel iFOD2 tractography algorithm.

That would be incorrect because iFOD2 is an MRtrix method.

A more accurate statement is:

We developed a BIDS-compatible lesion-aware TBI connectomics workflow that

integrates QSIPrep preprocessing, neuroLIT anatomical inpainting,

FreeSurfer/FastSurfer reconstruction, and MRtrix SS3T-CSD/ACT tractography

through QSIRecon, followed by subject-specific DKT connectome and

disconnectome analyses.

For the proposed 5TT feature:

We implemented and validated a TBI-specific pathological-5TT branch that

transforms the original lesion mask into the ACT tissue grid, regenerates

matched tractography and SIFT2 products, and quantifies its effect on

individualized DKT connectomes.

This language clearly identifies what was integrated and validated without claiming ownership of the underlying algorithms.

# Mathematical theory and representative code

## Scope and notation

This section explains the main mathematical ideas and shows representative commands or pseudocode. The examples are educational simplifications. They do not reproduce every internal option, heuristic, atlas, or implementation detail in the production source.

Notation used below:

: image intensity at physical position .

: affine transformation matrix.

: nonlinear spatial transformation.

: anatomical or tissue label.

: unit diffusion-gradient direction.

: diffusion weighting.

: measured diffusion signal.

: non-diffusion-weighted signal.

: diffusion tensor.

: fiber-orientation distribution in direction .

The Markdown equations use standard mathematical notation. The actual programs use optimized C, C++, Python, CUDA, shell, or external library implementations.

## How a beginner should read the formulas

The formulas are compact descriptions of an idea, not instructions that a reader must calculate by hand.

A letter such as  or  usually represents an image or measured

signal.

represents a location in the brain.

A hat, as in , means “our best estimate of something unknown.”

means “add all the listed values.”

means “choose the settings that make an error as small as

possible.”

means “choose the option with the largest score or probability.”

measures total squared error.

is a balancing control: a larger value gives the following

penalty more influence.

A matrix is a rectangular collection of numbers. A transformation matrix

stores how to move, rotate, resize, or shear coordinates.

Probability expressions compare alternatives; they do not mean the software

knows the biological truth with certainty.

For every method below, first read the Beginner explanation, then the formula, and finally the code example. The formula explains the goal; the code is one software implementation of that goal.

# FreeSurfer mathematics, theory, and code

## Image conversion and conformation with mri_convert

### Beginner explanation

An MRI is like a three-dimensional stack of graph paper. The voxel array stores brightness values, while the affine matrix tells the computer where that graph paper sits in real space. Conformation creates a new, standardized sheet of graph paper and asks, “What brightness from the original image belongs at each new location?”

In the formula below,  is a voxel address,  is the coordinate conversion rule, and  is the corresponding location in millimeters. The interpolation formula says that a new voxel may combine nearby old voxels when the grids do not line up exactly.

### Theory

A NIfTI or MGZ image contains both a voxel array and an affine mapping from voxel coordinates to physical coordinates:

Changing orientation metadata without resampling changes how array indices are interpreted. Conformation instead creates a target grid and samples the original image on that grid. For a target voxel , the corresponding source position is:

The target intensity is obtained with an interpolation kernel :

Nearest-neighbor interpolation is appropriate for labels. Linear, cubic, or sinc-like interpolation is more appropriate for continuous intensities.

### Representative code

mri_convert input_T1w.nii.gz orig.mgz
mri_convert --conform input_T1w.nii.gz conformed.mgz

Conceptual pseudocode:

for target_voxel in target_grid:
    target_world = target_affine @ target_voxel
    source_voxel = inverse(source_affine) @ target_world
    output[target_voxel] = interpolate(input, source_voxel)

### Source

This is standard medical-image geometry and resampling implemented as a FreeSurfer utility. Cite FreeSurfer and report the interpolation and target geometry; there is no separate foundational mri_convert paper.

## Robust template estimation with mri_robust_template

### Beginner explanation

Imagine taking several photographs of the same person on different days. The head is slightly shifted in every picture. Robust template estimation aligns all photographs and makes an average image, while giving less influence to blurred or unusual pixels. “Unbiased” means no single visit is treated as the correct master image.

The formula adds the mismatch between every aligned scan and the shared template. The program changes the alignments and template until that mismatch is small. The function  prevents one bad measurement from dominating the result.

### Theory

For repeated images , the objective is to estimate a subject template  and transforms  without selecting one time point as the privileged reference. A simplified robust objective is:

where  is a robust loss that reduces the influence of outliers. Inverse-consistent registration penalizes disagreement between forward and inverse mappings rather than estimating unrelated one-way transforms.

The unbiased template is iteratively updated from the transformed images. The actual FreeSurfer method includes robust estimation and transform parameterization described by Reuter et al. (2010, 2012).

### Representative code

mri_robust_template \
  --mov time1.mgz time2.mgz \
  --template subject_template.mgz \
  --lta time1_to_template.lta time2_to_template.lta \
  --satit

Conceptual pseudocode:

template = robust_average(images)
repeat:
    transforms = [robust_register(image, template) for image in images]
    aligned = [resample(image, transform) for image, transform in pairs]
    template = robust_weighted_average(aligned)
until convergence

### Sources

Reuter, Rosas, and Fischl, 2010.

Reuter, Schmansky, Rosas, and Fischl, 2012.

## N3 bias correction with mri_nu_correct.mni

### Beginner explanation

This is similar to correcting a photograph taken under uneven lighting. A uniform tissue can appear brighter on one side of the brain because the scanner has a slowly changing sensitivity pattern. N3 estimates that smooth “lighting” field and divides it away.

The first formula says: observed brightness equals real tissue brightness multiplied by scanner bias, plus noise. Taking the logarithm changes multiplication into addition, which makes the smooth bias easier to estimate.

### Theory

The observed image is modeled as the product of true tissue signal and a slowly varying bias field:

Taking logarithms turns the multiplicative field into an additive component:

N3 estimates a smooth field that reduces low-frequency intensity nonuniformity and sharpens the tissue-intensity distribution. The field is represented smoothly rather than estimated independently at every voxel.

### Representative code

mri_nu_correct.mni --i orig.mgz --o nu.mgz --n 1

Conceptual pseudocode:

log_image = log(image)
bias = zeros_like(image)
repeat:
    corrected = log_image - bias
    residual_low_frequency = estimate_smooth_bias(corrected)
    bias += residual_low_frequency
until histogram_sharpness_stabilizes
output = exp(log_image - bias)

### Source

Sled, Zijdenbos, and Evans, 1998. Modern N4 uses a related model with a modified optimization strategy, but mri_nu_correct.mni and ANTs N4 should not be described as the same executable.

## Affine atlas alignment with talairach_avi

### Beginner explanation

Affine registration aligns the whole brain by moving, rotating, resizing, and slanting it. Think of lining up two transparent brain pictures using one global adjustment. It cannot bend one small region independently.

In ,  stores all global adjustments, the right side is a point in the participant's brain, and the left side is the matching atlas coordinate.

### Theory

An affine transform maps subject coordinates to atlas coordinates:

where  can represent translation, rotation, scaling, and shear. The registration searches for parameters that improve an atlas/image similarity criterion while maintaining a physically plausible global transform.

This step supplies a standardized orientation and initialization. It does not perform detailed nonlinear anatomical correspondence.

### Representative code

talairach_avi --i orig.mgz --xfm transforms/talairach.auto.xfm

Conceptual pseudocode:

A = identity_affine()
repeat:
    moved = resample(subject, A, atlas_grid)
    score = atlas_similarity(moved, atlas)
    A = optimizer_update(A, score)
until convergence

### Source

The command is part of the FreeSurfer atlas-processing implementation and uses established affine atlas-registration principles. Cite the FreeSurfer reconstruction and segmentation literature rather than asserting a unique paper for this executable.

## Hybrid skull stripping with mri_watershed

### Beginner explanation

Watershed treats image intensity like a landscape of hills and valleys and uses controlled “flooding” to find boundaries. Because flooding alone can leak, FreeSurfer also uses a flexible surface like a balloon around the brain.

The energy formula is a score the algorithm tries to reduce. One part rewards following image boundaries, one keeps the surface smooth, and one discourages an implausible brain shape. The  values decide how strongly those goals compete.

### Theory

Watershed segmentation interprets an image-derived surface as topography and floods basins from seed points. Pure watershed methods can leak or stop at incorrect boundaries, so FreeSurfer combines watershed initialization with a deformable surface.

A simplified deformable-surface energy is:

The data term attracts the surface to likely brain/nonbrain boundaries, while regularization discourages jagged or implausible geometry.

### Representative code

mri_watershed -atlas T1.mgz brainmask.mgz

Conceptual pseudocode:

initial_mask = watershed_flood(intensity_topography, seeds)
surface = mesh_from_mask(initial_mask)
repeat:
    force = boundary_force(image, surface)
    force += smoothness_force(surface)
    force += atlas_or_shape_force(surface)
    surface = deform(surface, force)
until stable
brain_mask = rasterize(surface)

### Source

Ségonne et al., 2004, DOI 10.1016/j.neuroimage.2004.03.032.

## Probabilistic atlas registration with mri_em_register

### Beginner explanation

The atlas says where structures are usually found and what their MRI brightness usually looks like. The program repeatedly performs two tasks: estimate which tissues the voxels might be, then improve the atlas alignment using those estimates. This is similar to sorting puzzle pieces while simultaneously moving the reference picture underneath them.

The formula tries different alignments . For every location, it combines the probability of seeing that brightness for tissue  with the probability that tissue  belongs at that atlas position. The best alignment gives the largest total probability.

### Theory

The atlas provides spatial priors  for anatomical classes. Class-conditional intensity models provide . Registration seeks the transform  that makes the subject intensities most probable under the atlas:

In an expectation-maximization interpretation:

The E-step estimates posterior class probabilities.

The M-step updates registration and intensity parameters to increase expected

log likelihood.

The exact implementation contains FreeSurfer-specific priors, initialization, and optimization.

### Representative code

mri_em_register nu.mgz atlas.gca transforms/talairach.lta

Conceptual pseudocode:

A = initial_affine
repeat:
    posteriors = class_posterior(image, atlas_priors, A)
    A = maximize_expected_atlas_likelihood(image, atlas, posteriors)
until convergence

### Source

Fischl et al., 2002, whole-brain probabilistic segmentation.

## mri_ca_normalize: atlas-guided intensity normalization

### Beginner explanation

Different scans can assign different numerical brightness to the same tissue. This step calibrates the image so that likely white matter and other tissues have brightness values expected by FreeSurfer's atlas.

In ,  changes the brightness scale and  shifts it. Allowing these corrections to vary smoothly across space handles scanner shading without creating sharp artificial boundaries.

### Theory

MRI tissue intensities are not absolute physical units. FreeSurfer estimates a spatially varying correction so that tissue classes better match the atlas intensity model. A simplified model is:

where  and possibly  vary smoothly and are constrained by likely tissue classes and control points.

### Representative code

mri_ca_normalize \
  -c ctrl_pts.mgz \
  nu.mgz atlas.gca transforms/talairach.lta norm.mgz

Conceptual pseudocode:

repeat:
    likely_tissues = classify_using_atlas(image, transform)
    control_points = select_reliable_white_matter(likely_tissues)
    correction = fit_smooth_intensity_field(image, control_points)
    image = apply(correction, image)
until white_matter_target_is_stable

### Source

This operation belongs to the FreeSurfer probabilistic segmentation framework, particularly Fischl et al. (2002), rather than a separate paper for the command.

## mri_ca_register: nonlinear atlas registration

### Beginner explanation

Affine registration moves the brain as one object. Nonlinear registration is more like gently bending a rubber sheet so local anatomy lines up with the atlas. The bend must remain smooth so the program does not tear or fold the brain simply to improve the match.

The formula balances atlas mismatch against , the penalty for an unrealistic deformation. The chosen transformation  is the one with the lowest combined cost.

### Theory

A deformation  aligns the subject with a probabilistic atlas. A simplified objective is:

The first term rewards alignment with atlas intensity and label distributions. The regularizer  discourages folding and implausibly rough deformations.

### Representative code

mri_ca_register \
  -align-after \
  norm.mgz atlas.gca transforms/talairach.lta transforms/talairach.m3z

Conceptual pseudocode:

phi = affine_initialization
for resolution in coarse_to_fine:
    repeat:
        likelihood_gradient = atlas_likelihood_gradient(image, atlas, phi)
        regularization_gradient = deformation_penalty_gradient(phi)
        phi = update(phi, likelihood_gradient, regularization_gradient)
    until convergence

### Source

Fischl et al., 2002 and related FreeSurfer atlas-registration work.

## mri_ca_label: Bayesian anatomical labeling

### Beginner explanation

Each voxel holds a contest among possible anatomical names. A label scores high when its expected brightness fits, the atlas says it commonly occurs at that location, and it makes sense beside neighboring labels.

The formula multiplies those three sources of evidence and chooses the label with the highest score. “Most probable” here means most consistent with the model; it is not guaranteed anatomical truth.

### Theory

For voxel , a simplified maximum-a-posteriori label is:

where:

The first term is the class-intensity likelihood.

The second is the spatial atlas prior.

The third represents compatibility with neighboring labels.

FreeSurfer's classifier atlas includes richer spatial and neighborhood information than this compact equation shows.

### Representative code

mri_ca_label \
  norm.mgz transforms/talairach.m3z atlas.gca aseg.auto.mgz

Conceptual pseudocode:

for voxel in brain:
    for label in candidate_labels:
        score[label] = intensity_likelihood(label)
        score[label] *= atlas_prior(label, transformed_position)
        score[label] *= neighborhood_compatibility(label, neighbors)
    output[voxel] = argmax(score)

### Source

Fischl et al., 2002.

## Surface reconstruction with mris_make_surfaces

### Beginner explanation

FreeSurfer builds a triangular net around the cortex. It first places the net near the white-matter boundary, then adjusts another surface toward the outside of cortex. Forces pull vertices toward likely intensity boundaries while other forces prevent a rough or tangled mesh.

The first energy formula adds image-boundary, smoothness, and topology costs. The thickness formula measures the distance between white and pial surfaces in both directions and averages them. The spherical-registration formula aligns folding patterns after the cortex is inflated to a sphere.

### Theory

The cortex is represented as triangular meshes. Surface placement can be conceptualized as minimizing:

where  contains mesh vertices.

The white surface is attracted to the white/gray boundary.

The pial surface is attracted to the gray/CSF boundary.

Smoothness terms stabilize the mesh.

Topology correction seeks a surface topologically equivalent to a sphere.

FreeSurfer thickness is commonly defined symmetrically from distances between white and pial surfaces. In simplified form:

where the implementation evaluates distances in both directions to reduce one-sided bias.

Spherical registration aligns cortical folding patterns such as curvature while regularizing distortion:

### Representative code

mris_make_surfaces -noaparc sub-001 lh
mris_sphere sub-001/surf/lh.inflated sub-001/surf/lh.sphere
mris_register sub-001/surf/lh.sphere atlas.sphere.reg \
  sub-001/surf/lh.sphere.reg
mris_ca_label sub-001 lh sphere.reg classifier.gcs lh.aparc.annot

Conceptual pseudocode:

white = initialize_mesh(white_matter_segmentation)
white = deform_to_intensity_boundary(white, t1_image, smoothness=True)
white = correct_topology(white)
pial = expand_and_deform(white, gray_csf_boundary)
sphere = inflate_and_project_to_sphere(white)
sphere_reg = align_folding_features(sphere, atlas)
annotations = classify_surface_vertices(sphere_reg, atlas_classifier)

### Sources

Dale, Fischl, and Sereno, 1999.

Fischl, Sereno, and Dale, 1999.

Fischl and Dale, 2000.

Fischl, Liu, and Dale, 2001.

Fischl et al., 2004.

## Volumetric parcellation with mri_aparc2aseg

### Beginner explanation

The cortical atlas initially lives on the surface mesh, but many tools need a three-dimensional labeled image. This step “paints” each cortical region from the surface into voxels lying between the white and pial surfaces, then combines those labels with subcortical structures.

The formula is an if/then rule: preserve a valid subcortical label; otherwise, for a cortical-ribbon voxel, use the annotation of the closest appropriate surface vertex.

### Theory

Cortical annotations live on surface vertices, whereas many downstream tools require voxel labels. mri_aparc2aseg assigns cortical voxels using the participant's white and pial surfaces and the surface annotation, then merges those cortical labels with subcortical aseg labels.

A simplified assignment is:

The production implementation contains hemisphere, ribbon, distance, and label precedence rules.

### Representative code

mri_aparc2aseg \
  --s sub-001 \
  --annot DKTatlas \
  --o aparc.DKTatlas+aseg.mgz

Conceptual pseudocode:

output = copy(subcortical_aseg)
for cortical_voxel in ribbon:
    hemisphere = determine_hemisphere(cortical_voxel)
    vertex = nearest_valid_surface_vertex(cortical_voxel, hemisphere)
    output[cortical_voxel] = annotation[vertex]

### Sources

Cite the FreeSurfer surface/segmentation framework and the selected atlas. For DKT, cite Klein and Tourville (2012).

## Regional summaries with mri_segstats

### Beginner explanation

This is similar to using a spreadsheet to summarize each named brain region. The program counts its voxels, multiplies by the physical size of one voxel to obtain cubic millimeters, and can average another measurement inside the region.

is the number of voxels carrying label .  is that count times voxel volume. The mean formula adds all values in the region and divides by how many voxels were included.

### Theory

For label , voxel count and volume are:

For an intensity or scalar image , the regional mean and variance are:

Surface statistics use analogous sums over vertices or area-weighted surface elements.

### Representative code

mri_segstats \
  --seg aparc.DKTatlas+aseg.mgz \
  --sum dkt_volume_stats.txt

Conceptual pseudocode:

for label in unique(segmentation):
    mask = segmentation == label
    voxel_count = sum(mask)
    volume_mm3 = voxel_count * voxel_volume
    mean_value = mean(measure_image[mask])

### Source

This is standard regional summary arithmetic implemented by FreeSurfer. Cite FreeSurfer, the atlas, and the scientific source of any scalar image being summarized.

# QSIPrep mathematics, theory, and code

## BIDS discovery and Nipype workflow construction

### Beginner explanation

This is the recipe-management part of QSIPrep. BIDS gives files standardized names and metadata. QSIPrep reads them and constructs a flowchart in which each box is a processing operation and each arrow passes a result to the next box.

The graph expression  simply means that a workflow consists of processing nodes  and connections . It does not describe brain biology.

### Theory

This component is primarily graph and metadata logic rather than an image equation. PyBIDS queries files and metadata. QSIPrep converts the resulting acquisition description into a directed acyclic graph:

where each node  is an operation and each edge  carries a typed output from one operation to an input of another.

### Representative pseudocode

layout = BIDSLayout(bids_dir)
dwi = layout.get(subject=subject, suffix="dwi")
fmap = find_intended_fieldmaps(layout, dwi)

workflow = Workflow("qsiprep")
workflow.connect(denoise, "dwi", unring, "dwi")
workflow.connect(unring, "dwi", motion_and_sdc, "dwi")
workflow.connect(motion_and_sdc, "corrected", resample, "dwi")

The actual QSIPrep source uses Nipype interfaces, configuration objects, BIDS queries, and conditional workflow builders.

### Sources

Gorgolewski et al., 2011, Nipype.

Gorgolewski et al., 2016, BIDS.

Cieslak et al., 2021, QSIPrep.

## MP-PCA denoising

### Beginner explanation

Suppose many students describe the same object. Their shared statements contain the real pattern, while random disagreements behave like noise. MP-PCA examines small image neighborhoods across all diffusion volumes and keeps strong, repeated patterns while removing components that look like random noise.

says measured data are signal plus noise. SVD separates  into patterns ranked by strength. Random-matrix theory estimates which weak patterns are likely noise; the retained patterns are recombined into , the denoised estimate.

### Theory

A local patch of diffusion measurements is arranged as a matrix:

where  is low-rank structured signal and  is noise. Singular-value decomposition gives:

Random matrix theory predicts the distribution of singular values generated by noise. Components compatible with the Marchenko–Pastur noise distribution are removed, while larger signal components are retained:

This assumes locally redundant measurements and an appropriate noise model.

### Representative code

dwidenoise dwi.nii.gz dwi_denoised.nii.gz \
  -noise noise_map.nii.gz

Conceptual pseudocode:

for spatial_patch in image:
    X = patch_as_voxels_by_volumes(spatial_patch)
    U, singular_values, Vt = svd(X)
    threshold = marchenko_pastur_noise_edge(singular_values, X.shape)
    keep = singular_values > threshold
    denoised_patch = U[:, keep] @ diag(singular_values[keep]) @ Vt[keep]
    aggregate_overlapping_patch_estimates(denoised_patch)

### Source

Veraart et al., 2016.

## Gibbs-ringing correction

### Beginner explanation

MRI scanners measure only a limited range of spatial frequencies. Cutting off high frequencies is like trying to draw a sharp square using only smooth waves: small ripples appear beside the edge. mrdegibbs tests tiny subvoxel shifts and chooses the version with less local ringing.

The theory uses Fourier transforms, but the practical idea is simple: identify the sampling-related oscillation near strong boundaries without smoothing the whole image indiscriminately.

### Theory

Finite k-space sampling multiplies the continuous spectrum by a rectangular window. In image space, multiplication in Fourier space becomes convolution with a sinc-like point-spread function, creating oscillations near sharp boundaries.

The local subvoxel-shift method evaluates shifted reconstructions and selects the shift that minimizes local oscillation or total variation near edges.

### Representative code

mrdegibbs dwi_denoised.nii.gz dwi_unringed.nii.gz

Conceptual pseudocode:

for line in each_image_direction:
    candidates = [fourier_subvoxel_shift(line, delta) for delta in shifts]
    score = [local_total_variation(candidate) for candidate in candidates]
    output_line = candidates[argmin(score)]

### Source

Kellner et al., 2016.

## Susceptibility correction with FSL topup

### Beginner explanation

Echo-planar images can look stretched or squeezed along one direction because local magnetic fields are uneven. If two b0 images are acquired with opposite phase-encoding directions, their distortions bend in opposite directions. topup finds a smooth field that unbends both toward a shared anatomy.

In the formula,  is the location shift along the phase-encoding direction, and  corrects the brightness change caused by stretching or compression.

### Theory

Susceptibility creates a displacement primarily along the phase-encoding direction. A simplified acquisition model is:

where:

is the phase-encoding direction.

is displacement determined by the off-resonance field and readout

time.

is an intensity Jacobian correction.

Images acquired with reversed phase encoding have approximately opposite distortions. topup estimates a smooth field that makes the corrected images agree.

### Representative code

topup \
  --imain=paired_b0s.nii.gz \
  --datain=acqparams.txt \
  --config=b02b0.cnf \
  --out=topup_results

Conceptual pseudocode:

field = initialize_smooth_off_resonance_field()
repeat:
    corrected_forward = unwarp(forward_b0, field, pe_direction=+1)
    corrected_reverse = unwarp(reverse_b0, field, pe_direction=-1)
    loss = similarity(corrected_forward, corrected_reverse)
    loss += smoothness_penalty(field)
    field = optimizer_update(field, loss)
until convergence

### Source

Andersson, Skare, and Ashburner, 2003.

## Motion and eddy-current correction with FSL eddy

### Beginner explanation

Each diffusion volume can be shifted by head motion and warped by magnetic fields induced by rapidly changing gradients. eddy predicts what each volume should look like from the other diffusion measurements, then aligns the observed volume to that prediction.

The error formula compares corrected volume  with prediction . The program changes motion and distortion settings  until the difference is small. If the head rotates, the gradient direction must rotate too: .

### Theory

Each diffusion volume has a rigid-body motion transform  and an eddy-current-induced spatial distortion parameterized from the diffusion gradient. eddy jointly estimates these effects while using predictions of the diffusion signal to improve registration.

A simplified objective is:

where  is a model-based prediction of volume , and  includes motion, eddy-current, and susceptibility terms.

Outlier replacement detects slices whose residuals are inconsistent with the prediction and replaces them with model estimates for correction purposes.

When the image is rotated by , the corresponding gradient direction must also rotate:

### Representative code

eddy_openmp \
  --imain=dwi.nii.gz \
  --mask=mask.nii.gz \
  --acqp=acqparams.txt \
  --index=index.txt \
  --bvecs=bvecs \
  --bvals=bvals \
  --topup=topup_results \
  --out=eddy_corrected

Conceptual pseudocode:

repeat:
    prediction = gaussian_process_predict_each_volume(corrected_data, qspace)
    transforms = register_each_volume_to_prediction(data, prediction)
    detect_and_replace_slice_outliers(data, prediction)
    corrected_data = resample_with_motion_eddy_and_susceptibility(transforms)
    rotated_bvecs = [rotation(T) @ g for T, g in zip(transforms, bvecs)]
until convergence

### Source

Andersson and Sotiropoulos, 2016.

## ANTs registration and lesion cost-function masking

### Beginner explanation

Registration is like aligning two transparent maps. ANTs changes the moving map until its unaffected anatomy matches the fixed map. A lesion can have unusual brightness and shape, so allowing it to influence the matching score can pull the rest of the brain into the wrong position.

Cost-function masking tells the optimizer, “Do not grade the alignment inside the lesion; grade it using the remaining brain.” The formula minimizes image difference  plus a smoothness penalty , using , meaning all fitting locations except lesion .

### Theory

Registration estimates a transform  by minimizing:

where  may be cross-correlation or mutual information and  regularizes the transform.

With lesion cost-function masking, the similarity domain excludes lesion voxels:

The lesion is not deleted from the image. It is excluded from contributing to the fitting objective so that abnormal intensities do not pull the transform.

### Representative code

antsRegistration \
  --dimensionality 3 \
  --metric "CC[fixed.nii.gz,moving.nii.gz,1,4,Regular,0.2]" \
  --masks "[fixed_fit_mask.nii.gz,moving_fit_mask.nii.gz]" \
  --transform "SyN[0.1,3,0]"

Conceptual pseudocode:

fit_mask = brain_mask & ~lesion_mask
phi = initialize_affine()
for stage in [rigid, affine, nonlinear]:
    phi = minimize(
        similarity(fixed, warp(moving, phi), domain=fit_mask)
        + regularization(phi)
    )

### Sources

Brett et al., 2001, lesion cost-function masking.

Avants et al., 2011, ANTs.

Cieslak et al., 2021, QSIPrep integration.

## N4 bias-field correction

### Beginner explanation

N4 is another uneven-lighting correction. It estimates a very smooth scanner brightness field using flexible B-spline curves, then removes that field so the same tissue has more consistent intensity across the brain.

The formula is the same basic observation model as N3: measured brightness is true brightness multiplied by scanner bias. N4 changes how that bias is represented and optimized.

### Theory

N4 uses the same multiplicative observation model:

In log space, it estimates a smooth B-spline representation of  and iteratively sharpens the corrected intensity distribution. N4 modifies and improves the original N3 optimization.

### Representative code

N4BiasFieldCorrection \
  -d 3 \
  -i T1w.nii.gz \
  -x brain_mask.nii.gz \
  -o "[T1w_n4.nii.gz,bias_field.nii.gz]"

### Source

Tustison et al., 2010.

## SHORELine and 3dSHORE signal prediction

### Beginner explanation

Different diffusion directions naturally produce different image contrast, so directly aligning one diffusion image to another can be misleading. SHORELine learns the pattern of how signal changes across q-space, predicts what a particular volume should look like, and aligns the measured volume to its own prediction.

The first formula builds signal  by adding weighted basis patterns . The second chooses coefficients  that reproduce measured signal while avoiding an unstable, overly complicated model.

### Theory

SHORE represents the diffusion signal in q-space using a basis expansion:

Coefficients can be estimated with regularized least squares:

where  contains basis functions evaluated at measured q-space locations.

SHORELine predicts a target diffusion volume from the remaining measurements, registers the observed volume to its prediction, rotates the gradient, and iterates. This avoids registering diffusion-weighted images directly to a single b0 despite their orientation-dependent contrast.

### Representative pseudocode

corrected = input_dwi
repeat:
    for volume in corrected:
        model = fit_3dshore(corrected excluding volume, gradients)
        predicted = model.predict(gradient_of(volume))
        transform = rigid_register(volume, predicted)
        corrected[volume] = resample(volume, transform)
        gradients[volume] = rotation(transform) @ gradients[volume]
until motion_parameters_stabilize

QSIPrep selects and configures SHORELine through its workflow rather than requiring users to reproduce this pseudocode.

### Sources

Özarslan et al., 3dSHORE basis work.

Cieslak et al., 2021, SHORELine in QSIPrep.

## Resampling and transform composition

### Beginner explanation

Imagine receiving several navigation instructions: rotate, shift, unwarp, then move into T1 space. Applying and saving the image after every instruction would repeatedly blur it. QSIPrep combines the instructions into one route and samples the image once when practical.

The composition formula means “apply , then , continuing through .” The output formula looks backward through the combined map to find where each new voxel came from.

### Theory

Repeated interpolation blurs images. QSIPrep composes transforms and applies them in a controlled resampling step. If transforms are applied in order , the composite mapping is:

The output is sampled once where practical:

### Representative pseudocode

composite = compose(susceptibility, eddy, motion, coregistration)
preprocessed_dwi = resample_once(
    raw_dwi,
    transform=composite,
    target_grid=t1w_or_requested_grid
)

### Source

This is standard spatial-transform theory implemented through QSIPrep, NiTransforms, ANTs, FSL, and related interfaces. Report the actual QSIPrep version and generated methods boilerplate.

## SynthStrip and SynthSeg

### Beginner explanation

These programs are neural networks trained using many examples and synthetic variations. SynthStrip decides brain versus nonbrain. SynthSeg assigns multiple anatomical classes. For each voxel, the network outputs scores interpreted as class probabilities.

The loss formula is the training report card. Dice loss rewards overlap with the correct region, cross-entropy rewards the correct class probability, and regularization discourages unstable models. Users run the trained network; they do not retrain it during ordinary QSIPrep processing.

### Theory

These are learned segmentation systems. A neural network maps an image  to class probabilities:

Training minimizes a segmentation loss, commonly containing overlap and classification terms:

SynthStrip predicts brain versus nonbrain. SynthSeg predicts multiple anatomical classes and is trained with extensive synthetic contrast and spatial augmentation to improve robustness across acquisition types.

The exact architectures and training objectives should be taken from their publications, not inferred from this simplified expression.

### Representative workflow code

brain_mask = synthstrip(t1w)
tissue_labels = synthseg(t1w, mask=brain_mask)

### Sources

Hoopes et al., 2022, SynthStrip.

Billot et al., 2023, SynthSeg.

## QSIPrep quality control

### Beginner explanation

QC is a report card, not a single pass/fail truth. It records motion, unusual slices, prediction errors, signal quality, and registration images. Researchers must decide thresholds suitable for their scanner, participants, and analysis.

The residual formula compares an observed image with the model's prediction and divides by prediction size, making the error easier to compare across images.

### Theory

QC combines direct measurements and model residuals. Examples include:

Framewise translation and rotation.

Slice or volume outlier counts.

Residual error between corrected observations and predictions.

Neighboring diffusion-correlation measures.

Signal-to-noise and contrast summaries.

Registration overlays.

A generic normalized residual is:

QC thresholds should be validated for the acquisition and study; a software default is not automatically a clinical exclusion threshold.

### Representative pseudocode

qc = {
    "mean_translation": mean(norm(motion[:, :3], axis=1)),
    "mean_rotation": mean(norm(motion[:, 3:], axis=1)),
    "outlier_fraction": outlier_slices / total_slices,
    "prediction_residual": norm(observed - predicted) / norm(predicted),
}

### Source

Cieslak et al., 2021 and the QSIPrep version-specific documentation and methods boilerplate.

# QSIRecon and MRtrix mathematics, theory, and code

## YAML reconstruction specifications as executable graphs

### Beginner explanation

The YAML file is a written recipe. It says which program should run each step and which earlier result it needs. QSIRecon converts that recipe into a flowchart and runs steps only after their required inputs exist.

As with QSIPrep, a directed acyclic graph means arrows move forward without a logical loop. The graph is QSIRecon's organizational innovation, while the scientific algorithms inside the boxes may come from MRtrix, DIPY, or another package.

### Theory

A QSIRecon specification is a declarative description of a directed acyclic graph. Each node declares software, action, parameters, and upstream input. A topological ordering guarantees that a node runs only after its dependencies.

### Representative YAML

name: example_mrtrix_workflow
nodes:
  - name: estimate_fod
    software: MRTrix3
    action: csd
  - name: tractography
    software: MRTrix3
    action: tractography
    input: estimate_fod

Conceptual workflow-builder code:

spec = load_yaml(path)
graph = DirectedAcyclicGraph()
for node_spec in spec["nodes"]:
    node = build_interface(node_spec["software"], node_spec["action"])
    graph.add(node)
    if "input" in node_spec:
        graph.connect(node_spec["input"], node)
assert graph.is_acyclic()
workflow = compile_to_nipype(graph)

### Source

QSIRecon documentation and Cieslak et al., 2021.

## Diffusion tensor model and FA, MD, AD, RD

### Beginner explanation

The tensor models water diffusion as a three-dimensional ellipsoid. Its three eigenvalues describe diffusion along the ellipsoid's longest, middle, and shortest axes.

MD is the average of all three eigenvalues.

AD is the largest eigenvalue.

RD is the average of the other two.

FA measures how unequal the three eigenvalues are: zero is sphere-like and

values closer to one are more directionally elongated.

The signal equation says stronger diffusion weighting causes more signal loss when the gradient points along a direction with greater estimated diffusion. These values describe an MRI model and are not one-to-one measurements of specific cell structures.

### Theory

The tensor model assumes Gaussian diffusion:

Taking logarithms gives a linearized fitting equation:

After fitting the symmetric positive tensor , let its eigenvalues be .

Mean diffusivity:

Axial diffusivity:

Radial diffusivity:

Fractional anisotropy:

### Representative code

dwi2tensor dwi.mif tensor.mif
tensor2metric tensor.mif \
  -fa fa.mif \
  -adc md.mif \
  -ad ad.mif \
  -rd rd.mif

### Source

Basser, Mattiello, and LeBihan, 1994, with subsequent DTI literature.

## Response functions and constrained spherical deconvolution

### Beginner explanation

A voxel can contain fibers pointing in several directions. The measured signal is a blurred mixture of those directions. A response function describes the signal expected from one ideal fiber population. Deconvolution mathematically removes that blur to estimate the fiber-orientation distribution.

The integral formula says the measured signal combines contributions from all possible directions. In spherical harmonics, that difficult operation becomes coefficient multiplication. The optimization finds an FOD that matches the signal while preventing negative fiber amplitudes.

### Theory

The diffusion signal on a shell is modeled as the spherical convolution of a single-fiber response  with a fiber-orientation distribution :

In the spherical-harmonic basis, convolution becomes coefficient-wise multiplication:

Direct inversion is unstable. Constrained spherical deconvolution estimates coefficients while penalizing negative FOD amplitudes:

### Representative code

dwi2response dhollander dwi.mif \
  wm_response.txt gm_response.txt csf_response.txt

dwi2fod msmt_csd dwi.mif \
  wm_response.txt wmfod.mif \
  gm_response.txt gm.mif \
  csf_response.txt csf.mif

### Sources

Tournier, Calamante, and Connelly, 2007.

Dhollander and colleagues for three-tissue response estimation.

Tournier et al., 2019, MRtrix3.

## Single-shell three-tissue CSD

### Beginner explanation

Think of the voxel signal as paint mixed from three sources: directional white matter, more isotropic gray matter, and very isotropic CSF. SS3T-CSD tries to estimate how much of each source is present using one nonzero diffusion shell plus b0 data.

The equation adds those three predicted signals. Because limited measurements cannot uniquely determine every mixture, the method relies on response shapes, nonnegativity, and iterative constraints. The answer is model-dependent.

### Theory

The signal is modeled as contributions from anisotropic white matter and approximately isotropic gray matter and CSF:

With only one nonzero shell, separating all three tissues is underdetermined without constraints and iterative estimation. SS3T-CSD uses nonnegativity, tissue response shapes, spatial information, and iterative strategies to estimate plausible compartments.

### Representative workflow code

dwi2response dhollander dwi.mif wm.txt gm.txt csf.txt
# The exact SS3T operation depends on the MRtrix3Tissue/QSIRecon implementation.
ss3t_csd_beta1 dwi.mif wm.txt wmfod.mif gm.txt gm.mif csf.txt csf.mif

The command name and availability are version-dependent. The QSIRecon-generated methods and logs are the authoritative record for a specific run.

### Source

Dhollander and Connelly's SS3T-CSD work and the version-specific MRtrix3Tissue/QSIRecon documentation.

## Multi-tissue intensity normalization with mtnormalise

### Beginner explanation

Two parts of a scan may have different overall FOD amplitude because of smooth scanner bias rather than biology. mtnormalise is like matching exposure across a photograph while considering all tissue compartments together.

The formula says that, after removing a smooth bias field , the combined tissue signal should be near a common reference . It does not force every individual tissue to be identical.

### Theory

Tissue compartment amplitudes are affected by a smooth multiplicative field . mtnormalise estimates that field so the summed tissue compartments have a consistent reference amplitude:

within appropriate brain tissue, with  constrained to be spatially smooth. The production method uses robust fitting and outlier handling.

### Representative code

mtnormalise \
  wmfod.mif wmfod_norm.mif \
  gm.mif gm_norm.mif \
  csf.mif csf_norm.mif \
  -mask brain_mask.mif

### Source

Raffelt et al., 2017.

## HSVS five-tissue-type image

### Beginner explanation

The 5TT image is five aligned three-dimensional layers. At every location, the layers describe how much the voxel resembles cortical gray matter, subcortical gray matter, white matter, CSF, or pathology. ACT reads these layers as anatomical traffic information.

The vector formula lists the five values at location . Their sum should usually be close to one inside the modeled brain. Adding a lesion to the fifth channel tells ACT that ordinary tissue rules are uncertain there.

### Theory

ACT uses a five-component tissue vector:

Values are nonnegative and are expected to form meaningful partial-volume fractions, commonly satisfying approximately:

inside the modeled brain.

HSVS combines FreeSurfer surfaces with volumetric labels to preserve the gray–white boundary while representing subcortical tissues and CSF.

### Representative code

5ttgen hsvs /subjects/sub-001 base_5tt.mif
5ttcheck base_5tt.mif
5tt2gmwmi base_5tt.mif gmwm_seed.mif

For lesion-aware ACT:

5ttedit base_5tt.mif lesion_aware_5tt.mif \
  -path lesion_in_5tt_space.mif
5ttcheck lesion_aware_5tt.mif

### Source

Smith et al., 2020, hybrid surface–volume segmentation, plus MRtrix3 documentation.

## Anatomically constrained tractography

### Beginner explanation

Diffusion tractography follows local direction estimates, but direction alone can create biologically implausible paths. ACT adds traffic rules: streamlines normally travel through white matter and should start or end at plausible tissue boundaries rather than floating through CSF.

ACT is mainly a state machine rather than one equation. The pseudocode checks the proposed next location, reads its 5TT tissue values, and decides whether to continue, terminate, backtrack, or reject.

### Theory

ACT treats streamline propagation as a tissue-state process. A streamline is accepted, continued, terminated, or rejected according to its current and previous tissue compartments.

Conceptually:

while streamline_is_active:
    direction = tractography_model.sample_direction(position)
    next_position = integrate(position, direction)
    tissue = five_tissue_image(next_position)

    if transition_is_anatomically_valid(previous_tissue, tissue):
        continue
    elif transition_is_valid_termination(previous_tissue, tissue):
        terminate_and_accept()
    else:
        reject_or_backtrack()

The pathological compartment tells ACT that standard tissue rules are unreliable at those voxels. It is not an exclusion mask and does not prove that a reconstructed trajectory represents a surviving axon.

### Representative code

tckgen wmfod.mif tracks.tck \
  -algorithm iFOD2 \
  -act five_tissue.mif \
  -backtrack \
  -crop_at_gmwmi \
  -seed_dynamic wmfod.mif \
  -select 10000000

### Source

Smith et al., 2012.

## iFOD2 probabilistic streamline integration

### Beginner explanation

At each step, several directions may be plausible. iFOD2 samples curved candidate steps, gives greater preference to directions supported by the FOD, and randomly selects among them. Repeating this from many seeds creates a tractogram.

The path expression multiplies directional support along a proposed path . It is only a conceptual score: it does not mean the final number is the biological probability that an axon exists.

### Theory

The FOD defines a directional probability-like density. First-order methods sample a direction at the current point. iFOD2 evaluates candidate curved arcs over a finite step, improving integration through high-curvature fields.

A conceptual path score is:

subject to step-size, curvature, amplitude, mask, and ACT constraints. This is not a calibrated posterior probability that a biological axon exists.

### Representative pseudocode

position, direction = seed()
while valid:
    arcs = propose_candidate_arcs(position, direction, step_size, max_angle)
    scores = [integrated_fod_amplitude(arc, wmfod) for arc in arcs]
    arc = probabilistic_sample(arcs, scores)
    position, direction = advance_along(arc)
    apply_cutoff_length_mask_and_act_rules()

### Sources

Tournier and colleagues' iFOD2 work and Tournier et al., 2019, MRtrix3.

## SIFT2 streamline weighting

### Beginner explanation

A tractogram may contain too many streamlines in some places and too few in others. SIFT2 gives each streamline a weight so the total weighted streamline density better agrees with fiber density estimated from the diffusion signal.

In the formula,  records where each streamline travels,  contains the unknown streamline weights, and  is the FOD-derived target. The method chooses nonnegative weights that make  resemble . These weights are not literal axon counts.

### Theory

Let  describe how streamline  contributes to fixel or voxel , and let  represent the FOD-derived fiber-density target. SIFT2 finds nonnegative streamline weights  so aggregate streamline density matches the diffusion-derived target:

The exact SIFT2 objective includes proportionality and regularization details. The result is one coefficient per streamline. It improves correspondence between tractogram density and the diffusion model but does not produce an absolute axon count.

### Representative code

tcksift2 tracks.tck wmfod.mif sift2_weights.txt \
  -act five_tissue.mif \
  -out_mu sift2_mu.txt

### Source

Smith et al., 2015.

## Connectome construction with tck2connectome

### Beginner explanation

A connectome is like a city-to-city road matrix. Row  and column  store the connection between brain regions  and .

The count formula adds one for every streamline joining the two regions.

The SIFT2 formula adds each streamline's SIFT2 weight instead.

The mean-length formula adds streamline lengths and divides by the number of

streamlines on that edge.

The indicator  equals one when a streamline has the required endpoints and zero otherwise.

### Theory

Each accepted streamline is assigned endpoint labels  and . The count matrix is:

The SIFT2 matrix is:

Mean streamline length is:

Endpoint radial search, reverse search, assignment to parcels, symmetry, and diagonal handling affect the result and must be reported.

### Representative code

tck2connectome tracks.tck nodes.mif count.csv \
  -symmetric -zero_diagonal

tck2connectome tracks.tck nodes.mif sift2.csv \
  -tck_weights_in sift2_weights.txt \
  -symmetric -zero_diagonal

tck2connectome tracks.tck nodes.mif mean_length.csv \
  -scale_length -stat_edge mean \
  -symmetric -zero_diagonal

### Source

MRtrix3 and structural-connectome methodology described by Smith and colleagues; report the exact MRtrix options.

## Sampling scalar maps along streamlines

### Beginner explanation

Imagine laying a path across a temperature map and recording the temperature at regular points. tcksample does the same with FA, MD, or another MRI map along each streamline.

The integral formula adds scalar  along path  and divides by path length , producing the streamline's mean value. Interpolation is needed because sample points rarely fall exactly at voxel centers.

### Theory

For scalar image  and streamline path , a mean streamline scalar is:

Discrete implementation samples interpolated values at points along each streamline and applies a statistic such as mean, median, minimum, or maximum.

### Representative code

tcksample tracks.tck fa.mif streamline_mean_fa.txt \
  -stat_tck mean

Edge-level MeanFA can then be computed by grouping streamline values according to their endpoint parcels. Weighting by SIFT2 coefficients and unweighted averaging answer different questions and must be specified.

### Source

MRtrix3 documentation and Tournier et al., 2019.

## Atlas transformations and node assignment

### Beginner explanation

The atlas and tractography must occupy the same physical grid before streamline endpoints can be assigned to regions. Transforming a label image is like moving a colored map onto new graph paper.

The formula uses the inverse transform to ask which source label belongs at each target location. Nearest-neighbor interpolation is used because averaging label numbers could invent a region that does not exist.

### Theory

Labels must be resampled with nearest-neighbor or label-aware interpolation:

Unlike continuous images, averaging labels is invalid because an interpolated number may not correspond to a real region.

### Representative code

antsApplyTransforms \
  -d 3 \
  -i dkt_labels.nii.gz \
  -r dwiref.nii.gz \
  -o dkt_in_dwi.nii.gz \
  -n NearestNeighbor \
  -t anatomical_to_dwi_transform.mat

labelconvert dkt_in_dwi.nii.gz \
  FreeSurferColorLUT.txt fs_dkt.txt nodes.mif

### Source

Standard label-resampling theory, ANTs/NiTransforms, FreeSurfer atlas products, and MRtrix3 labelconvert.

## Alternative models available through QSIRecon

### Diffusion kurtosis imaging

At a beginner level, the diffusion tensor assumes water displacement is Gaussian, similar to a smooth bell-shaped distribution. Real tissue often deviates from that shape because membranes and cellular structures restrict water. DKI adds , an apparent kurtosis term describing the size of that deviation. The  term means kurtosis becomes more visible at higher diffusion weighting. It remains a model-based, nonspecific measurement.

DKI extends the logarithmic signal expansion:

It estimates non-Gaussian diffusion through apparent kurtosis. Source: Jensen et al., 2005.

### Generalized q-sampling imaging

At a beginner level, GQI uses the mathematical relationship between q-space measurements and likely water-displacement directions. Instead of forcing the signal into a tensor ellipsoid, it can represent several directional peaks in one voxel. Quantitative anisotropy describes the prominence of an individual directional peak, but it is not a count of fibers.

GQI estimates orientation-dependent information from the relationship between q-space measurements and the displacement distribution using a Fourier-based transform. Quantitative anisotropy reflects peak-specific spin displacement information. Source: Yeh et al., 2010.

### NODDI

At a beginner level, NODDI treats a voxel as a mixture of three signal sources: water modeled as being inside neurites, water outside neurites, and freely diffusing isotropic water. In the formula,  controls the intracellular-like fraction and  controls the free-water fraction. The remaining fraction belongs to the extracellular-like model. These compartments are useful model interpretations, not direct microscopic measurements.

A simplified NODDI signal mixture is:

The model estimates intracellular fraction, orientation dispersion, and isotropic fraction under strong biological assumptions. Source: Zhang et al.,

AMICO provides accelerated optimization.

### MAP-MRI

At a beginner level, MAP-MRI builds the measured q-space signal from a set of mathematical building blocks. Because each block has a known Fourier-transform partner, the same fitted coefficients can describe a three-dimensional water-displacement distribution. In the formulas,  is measured signal,  is the estimated displacement distribution, and  controls how much of each basis pattern is used.

MAP-MRI expands the q-space signal in a basis whose Fourier transform provides an analytical displacement propagator:

Derived measures summarize return probabilities and non-Gaussian displacement. Source: Özarslan et al., 2013.

### QSIRecon's role

QSIRecon does not replace the mathematics in these publications. Its code selects the appropriate interface, passes standardized QSIPrep derivatives, connects outputs to mapping or tractometry nodes, and writes reproducible derivatives and provenance.

## End-to-end code sketch for our pipeline

The following illustrates the scientific dependencies; it is not a replacement for the production workflow:

# Preprocessing is performed by QSIPrep.
qsiprep /bids /derivatives participant \
  --participant-label 001 \
  --output-resolution 2

# Anatomical reconstruction uses the inpainted T1w.
recon-all -all -s sub-001 -i inpainted_T1w.nii.gz

# QSIRecon estimates FODs and runs standard ACT.
qsirecon /derivatives/qsiprep /derivatives/qsirecon participant \
  --input-type qsiprep \
  --recon-spec mrtrix_singleshell_ss3t_ACT-hsvs \
  --fs-subjects-dir /subjects

# Proposed lesion-aware branch.
antsApplyTransforms \
  -i lesion_native_T1w.nii.gz \
  -r base_5tt_reference.nii.gz \
  -o lesion_in_5tt_space.nii.gz \
  -n NearestNeighbor \
  -t lesion_to_5tt_transforms

5ttedit base_5tt.mif lesion_aware_5tt.mif \
  -path lesion_in_5tt_space.nii.gz

tckgen wmfod.mif lesion_aware_tracks.tck \
  -algorithm iFOD2 \
  -act lesion_aware_5tt.mif \
  -seed_dynamic wmfod.mif \
  -select 10000000

tcksift2 lesion_aware_tracks.tck wmfod.mif lesion_aware_weights.txt \
  -act lesion_aware_5tt.mif

tck2connectome lesion_aware_tracks.tck dkt_nodes.mif dkt_sift2.csv \
  -tck_weights_in lesion_aware_weights.txt \
  -symmetric -zero_diagonal

The actual implementation must reproduce QSIRecon's tractography parameters, coordinate grids, transform chain, random seed policy, and provenance exactly for a valid paired standard-versus-lesion-aware comparison.

<!-- BEGIN GENERATED PAPER SUMMARIES -->

# Beginner summaries of every cited paper or conference method

Each summary answers four questions: What problem did the work address? What was its central method? What is the key idea? Why is it relevant here? Conference abstracts are identified as such; they should not be described as full journal validation papers.

## Reference 1: Dale, Fischl, and Sereno (1999), cortical surface reconstruction

Problem: convert volumetric MRI into an accurate cortical surface.

Key idea: segment white matter, tessellate its boundary, and deform a mesh toward anatomical boundaries while preserving geometry.

Why it matters here: it is the foundation of the white and pial surfaces used by FreeSurfer and the DKT atlas.

## Reference 2: Fischl, Sereno, and Dale (1999), inflation and surface coordinates

Problem: compare highly folded cortices across people.

Key idea: inflate and map cortex to a sphere while tracking geometric distortion, creating a surface coordinate system for registration.

Why it matters here: cortical atlas labels are transferred through surface registration.

## Reference 3: Fischl and Dale (2000), cortical thickness

Problem: estimate cortical thickness without relying on slice orientation.

Key idea: reconstruct white and pial surfaces and use symmetric distances between them.

Why it matters here: it explains FreeSurfer thickness outputs, although thickness is not the primary connectome edge measure.

## Reference 4: Fischl, Liu, and Dale (2001), automated manifold surgery

Problem: MRI-derived meshes can contain holes or handles that violate cortical topology.

Key idea: automatically correct mesh topology while minimizing changes to the measured anatomy.

Why it matters here: valid spherical registration requires a topologically correct cortical surface.

## Reference 5: Fischl et al. (2002), whole-brain segmentation

Problem: label subcortical and other brain structures automatically.

Key idea: combine atlas location, tissue intensity, and neighborhood relationships in a probabilistic classifier.

Why it matters here: aseg labels contribute subcortical DKT nodes and HSVS tissue construction.

## Reference 6: Fischl et al. (2004), automatic cortical parcellation

Problem: assign reproducible cortical region names to an individual surface.

Key idea: use probabilistic folding-pattern information on the spherical surface rather than relying only on Euclidean location.

Why it matters here: this is the basis for automated surface annotation workflows.

## Reference 7: Ségonne et al. (2004), hybrid watershed skull stripping

Problem: separate brain from skull and surrounding tissue reliably.

Key idea: combine watershed initialization with a deformable surface and atlas information.

Why it matters here: brain extraction errors can propagate through all FreeSurfer stages.

## Reference 8: Reuter, Rosas, and Fischl (2010), robust inverse-consistent registration

Problem: ordinary registration can be biased by outliers and by choosing one image direction.

Key idea: robust statistics and inverse consistency reduce outlier influence and forward/reverse asymmetry.

Why it matters here: it supports stable alignment of repeated anatomical scans.

## Reference 9: Reuter et al. (2012), unbiased longitudinal templates

Problem: measuring change is biased when one visit is treated as the fixed reference.

Key idea: build an unbiased within-subject template and initialize every visit from it.

Why it matters here: it is the correct conceptual model for future longitudinal TBI analyses.

## Reference 10: Sled, Zijdenbos, and Evans (1998), N3

Problem: scanner sensitivity creates smooth brightness variation unrelated to tissue.

Key idea: estimate a smooth multiplicative field by sharpening the tissue-intensity distribution.

Why it matters here: intensity normalization improves atlas registration and segmentation.

## Reference 11: Cieslak et al. (2021), QSIPrep

Problem: diffusion preprocessing differed across acquisition schemes and laboratories.

Key idea: use BIDS metadata to build adaptive, tested workflows and introduce SHORELine for general q-space motion correction.

Why it matters here: QSIPrep supplies standardized DWI, gradients, transforms, QC, and lesion-masked normalization.

## Reference 12: Gorgolewski et al. (2011), Nipype

Problem: neuroimaging scripts were difficult to reproduce and parallelize.

Key idea: represent processing as connected interfaces in an executable workflow graph.

Why it matters here: QSIPrep and QSIRecon use Nipype-style graphs to connect tools and track inputs and outputs.

## Reference 13: Gorgolewski et al. (2016), BIDS

Problem: neuroimaging datasets used inconsistent names and metadata layouts.

Key idea: define a community standard for folders, filenames, entities, and sidecar metadata.

Why it matters here: BIDS enables automatic discovery of DWI, fieldmaps, T1w images, and lesion ROIs.

## Reference 14: Esteban et al. (2019), fMRIPrep

Problem: fMRI preprocessing choices were inconsistent and difficult to audit.

Key idea: create a robust BIDS App with adaptive workflows, visual reports, provenance, and methods text.

Why it matters here: QSIPrep adapted important workflow patterns and infrastructure from fMRIPrep/niworkflows.

## Reference 15: Tournier et al. (2019), MRtrix3

Problem: diffusion analysis needed a flexible, efficient, interoperable software framework.

Key idea: provide optimized image operations, CSD, tractography, ACT, SIFT, and connectome tools in one framework.

Why it matters here: most QSIRecon reconstruction and DKT connectome operations are MRtrix3 commands.

## Reference 16: Smith et al. (2012), ACT

Problem: diffusion directions alone permit streamlines to start, stop, or travel in anatomically implausible places.

Key idea: use a five-tissue anatomical image as state rules for propagation and termination.

Why it matters here: standard and proposed lesion-aware tractography both rely on ACT.

## Reference 17: Smith et al. (2015), SIFT2

Problem: raw streamline density does not quantitatively match the FOD-derived fiber-density signal.

Key idea: assign each streamline a nonnegative weight so weighted tractogram density better matches diffusion information.

Why it matters here: SIFT2 provides an alternative edge weighting, not an absolute axon count.

## Reference 18: Avants et al. (2011), ANTs registration evaluation

Problem: nonlinear registration methods require reproducible implementation and objective comparison.

Key idea: evaluate ANTs transformations and similarity metrics across brain-registration tasks.

Why it matters here: ANTs aligns anatomical, lesion, atlas, and diffusion-space products.

## Reference 19: Tustison et al. (2010), N4

Problem: N3 bias correction could be improved in convergence and B-spline field estimation.

Key idea: reformulate and optimize nonparametric bias correction with a smooth B-spline field.

Why it matters here: QSIPrep uses N4 for anatomical intensity correction.

## Reference 20: Brett et al. (2001), lesion cost-function masking

Problem: abnormal lesion intensity can pull spatial normalization toward the wrong solution.

Key idea: exclude lesion voxels from the registration fitting score while still transforming the full image.

Why it matters here: QSIPrep automatically uses a correctly named BIDS lesion ROI for T1w normalization.

## Reference 21: Veraart et al. (2016), MP-PCA denoising

Problem: diffusion MRI noise reduces precision and biases derived models.

Key idea: use random-matrix theory to distinguish locally redundant signal components from noise components.

Why it matters here: dwidenoise improves signal before interpolation and model fitting.

## Reference 22: Kellner et al. (2016), Gibbs-ringing removal

Problem: finite Fourier sampling creates oscillating bands near sharp boundaries.

Key idea: search local subvoxel shifts for a reconstruction with lower ringing-related variation.

Why it matters here: mrdegibbs reduces a structured artifact without ordinary broad smoothing.

## Reference 23: Andersson, Skare, and Ashburner (2003), reversed-PE correction

Problem: susceptibility distorts EPI images along phase encoding.

Key idea: estimate one smooth off-resonance field from images distorted in opposite directions.

Why it matters here: this is the basis of FSL topup used when paired data are available.

## Reference 24: Andersson and Sotiropoulos (2016), integrated eddy correction

Problem: motion, eddy currents, susceptibility, and slice outliers interact in diffusion MRI.

Key idea: use diffusion-informed predictions to jointly estimate distortions, movement, and outlier replacement.

Why it matters here: corrected images and rotated b-vectors are central QSIPrep outputs.

## Reference 25: Özarslan et al. (2009), 3dSHORE conference report

Problem: represent arbitrary three-dimensional q-space measurements analytically.

Key idea: expand signal in a simple-harmonic-oscillator basis with constraints supporting a valid propagator.

Why it matters here: 3dSHORE supplies the signal-prediction theory used by SHORELine.

## Reference 26: Hoopes et al. (2022), SynthStrip

Problem: traditional skull stripping often fails across modalities and pathology.

Key idea: train a contrast-agnostic neural network using synthetic data and broad augmentation.

Why it matters here: newer QSIPrep anatomical workflows can obtain robust brain masks from varied images.

## Reference 27: Billot et al. (2023), SynthSeg

Problem: segmentation networks usually depend on a narrow image contrast and resolution.

Key idea: train almost entirely on synthetic images with randomized contrast and anatomy to generalize without retraining.

Why it matters here: QSIPrep can obtain robust anatomical labels across acquisition types.

## Reference 28: Basser, Mattiello, and LeBihan (1994), diffusion tensor imaging

Problem: characterize direction-dependent water diffusion in three dimensions.

Key idea: represent diffusion with a symmetric tensor and derive its eigenvalues and directions.

Why it matters here: FA, MD, AD, and RD are all derived from this model.

## Reference 29: Tournier, Calamante, and Connelly (2007), constrained spherical deconvolution

Problem: one voxel may contain multiple fiber directions that a tensor cannot separate.

Key idea: deconvolve a single-fiber response from measured signal while enforcing a nonnegative FOD.

Why it matters here: CSD generates the directional model followed by iFOD2 tractography.

## Reference 30: Raffelt et al. (2017), multi-tissue normalization conference report

Problem: FOD amplitudes contain smooth scanner bias and arbitrary global scaling.

Key idea: use the sum of tissue compartments to estimate bias and intensity scaling.

Why it matters here: mtnormalise makes tissue amplitudes more comparable; current code adds log-domain fitting and outlier rejection.

## Reference 31: Smith et al. (2012), ACT duplicate methodological citation

This is the same core ACT publication summarized under reference 16.

Key idea: anatomical tissue states constrain streamline propagation and termination.

Why it matters here: it is cited again where ACT implementation details are discussed.

## Reference 32: Smith et al. (2015), SIFT2 duplicate methodological citation

This is the same SIFT2 publication summarized under reference 17.

Key idea: optimize per-streamline weights against FOD-derived density.

Why it matters here: it is cited again in the mathematical implementation section.

## Reference 33: Smith et al. (2020), HSVS conference report

Problem: intensity-only 5TT segmentation can misplace tissue interfaces used by ACT.

Key idea: combine surface reconstructions and volumetric segmentations in one five-tissue image.

Why it matters here: the QSIRecon ACT-hsvs workflow uses this anatomical representation.

## Reference 34: Jensen et al. (2005), diffusion kurtosis imaging

Problem: biological diffusion often deviates from the Gaussian tensor assumption.

Key idea: add a kurtosis term to quantify non-Gaussian signal behavior.

Why it matters here: QSIRecon can generate DKI measures when acquisition supports the model.

## Reference 35: Yeh, Wedeen, and Tseng (2010), GQI

Problem: infer multiple diffusion directions without forcing a Gaussian tensor model.

Key idea: use the Fourier relationship between q-space signal and spin-displacement information to estimate orientation distributions.

Why it matters here: DSI Studio reconstruction specifications can use GQI and quantitative anisotropy.

## Reference 36: Zhang et al. (2012), NODDI

Problem: obtain interpretable indices of neurite density and orientation dispersion from clinically feasible data.

Key idea: fit a multi-compartment signal model for intracellular-like, extracellular-like, and isotropic water.

Why it matters here: QSIRecon can call AMICO/NODDI, but its parameters remain model-dependent rather than direct histology.

## Reference 37: Özarslan et al. (2013), MAP-MRI

Problem: describe complex three-dimensional water displacement without a simple Gaussian assumption.

Key idea: use paired q-space and propagator basis functions to estimate displacement and return-probability measures.

Why it matters here: QSIRecon can integrate MAP-MRI implementations for advanced microstructure analysis.

## Reference 38: Klein and Tourville (2012), DKT labeling protocol

Problem: cortical atlas protocols and manually labeled training sets were inconsistent.

Key idea: create 101 consistently labeled brains and a clarified cortical labeling protocol.

Why it matters here: DKT defines the cortical nodes used by the primary connectome.

<!-- END GENERATED PAPER SUMMARIES -->

<!-- BEGIN GENERATED CODE WALKTHROUGHS -->

# Beginner line-by-line code walkthroughs

This appendix explains every executable Bash, Python/pseudocode, and YAML line shown above. Lines ending in \ continue the same shell command; they are not separate programs. Python blocks labeled as conceptual pseudocode illustrate logic and are not guaranteed to run unchanged.

## Walkthrough 1: Image conversion and conformation with mri_convert

Language: bash.

mri_convert input_T1w.nii.gz orig.mgz — Runs FreeSurfer image conversion or grid conformation.

mri_convert --conform input_T1w.nii.gz conformed.mgz — Runs FreeSurfer image conversion or grid conformation.

## Walkthrough 2: Image conversion and conformation with mri_convert

Language: python.

for target_voxel in target_grid: — Starts a loop that performs the indented steps once for every listed item.

target_world = target_affine @ target_voxel — Calculates or retrieves the variable target_world and stores it under the name target_world. The right side, target_affine @ target_voxel, describes how it is obtained.

source_voxel = inverse(source_affine) @ target_world — Calculates or retrieves the variable source_voxel and stores it under the name source_voxel. The right side, inverse(source_affine) @ target_world, describes how it is obtained.

output[target_voxel] = interpolate(input, source_voxel) — Updates this selected output entry with the newly calculated value.

## Walkthrough 3: Robust template estimation with mri_robust_template

Language: bash.

mri_robust_template \ — Builds an unbiased template from repeated anatomical scans. The trailing backslash continues the same command on the next line.

--mov time1.mgz time2.mgz \ — The --mov option lists the moving input scans that will be combined. The trailing backslash continues the same command.

--template subject_template.mgz \ — The --template option names the output template image. The trailing backslash continues the same command.

--lta time1_to_template.lta time2_to_template.lta \ — The --lta option names the output transforms from each scan to the template. The trailing backslash continues the same command.

--satit — The --satit option enables robust iterative template estimation.

## Walkthrough 4: Robust template estimation with mri_robust_template

Language: python.

template = robust_average(images) — Calculates or retrieves the current shared anatomical estimate and stores it under the name template. The right side, robust_average(images), describes how it is obtained.

repeat: — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

transforms = [robust_register(image, template) for image in images] — Calculates or retrieves the spatial alignments and stores it under the name transforms. The right side, [robust_register(image, template) for image in images], describes how it is obtained.

aligned = [resample(image, transform) for image, transform in pairs] — Calculates or retrieves the input scans resampled into template space and stores it under the name aligned. The right side, [resample(image, transform) for image, transform in pairs], describes how it is obtained.

template = robust_weighted_average(aligned) — Calculates or retrieves the current shared anatomical estimate and stores it under the name template. The right side, robust_weighted_average(aligned), describes how it is obtained.

until convergence — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

## Walkthrough 5: N3 bias correction with mri_nu_correct.mni

Language: bash.

mri_nu_correct.mni --i orig.mgz --o nu.mgz --n 1 — Runs N3-based correction of smooth intensity shading.

## Walkthrough 6: N3 bias correction with mri_nu_correct.mni

Language: python.

log_image = log(image) — Calculates or retrieves the logarithm of image intensity and stores it under the name log_image. The right side, log(image), describes how it is obtained.

bias = zeros_like(image) — Calculates or retrieves the smooth estimated intensity bias and stores it under the name bias. The right side, zeros_like(image), describes how it is obtained.

repeat: — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

corrected = log_image - bias — Calculates or retrieves the current corrected image and stores it under the name corrected. The right side, log_image - bias, describes how it is obtained.

residual_low_frequency = estimate_smooth_bias(corrected) — Calculates or retrieves the variable residual_low_frequency and stores it under the name residual_low_frequency. The right side, estimate_smooth_bias(corrected), describes how it is obtained.

bias += residual_low_frequency — Represents the stated conceptual processing step; production software expands it into validated library operations.

until histogram_sharpness_stabilizes — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

output = exp(log_image - bias) — Calculates or retrieves the result being built and stores it under the name output. The right side, exp(log_image - bias), describes how it is obtained.

## Walkthrough 7: Affine atlas alignment with talairach_avi

Language: bash.

talairach_avi --i orig.mgz --xfm transforms/talairach.auto.xfm — Estimates an initial affine alignment to Talairach atlas space.

## Walkthrough 8: Affine atlas alignment with talairach_avi

Language: python.

A = identity_affine() — Calculates or retrieves an affine transformation and stores it under the name A. The right side, identity_affine(), describes how it is obtained.

repeat: — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

moved = resample(subject, A, atlas_grid) — Calculates or retrieves the variable moved and stores it under the name moved. The right side, resample(subject, A, atlas_grid), describes how it is obtained.

score = atlas_similarity(moved, atlas) — Calculates or retrieves the quality score for each candidate and stores it under the name score. The right side, atlas_similarity(moved, atlas), describes how it is obtained.

A = optimizer_update(A, score) — Calculates or retrieves an affine transformation and stores it under the name A. The right side, optimizer_update(A, score), describes how it is obtained.

until convergence — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

## Walkthrough 9: Hybrid skull stripping with mri_watershed

Language: bash.

mri_watershed -atlas T1.mgz brainmask.mgz — Creates a brain mask using hybrid watershed skull stripping.

## Walkthrough 10: Hybrid skull stripping with mri_watershed

Language: python.

initial_mask = watershed_flood(intensity_topography, seeds) — Calculates or retrieves the initial brain-mask estimate and stores it under the name initial_mask. The right side, watershed_flood(intensity_topography, seeds), describes how it is obtained.

surface = mesh_from_mask(initial_mask) — Calculates or retrieves the current surface mesh and stores it under the name surface. The right side, mesh_from_mask(initial_mask), describes how it is obtained.

repeat: — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

force = boundary_force(image, surface) — Calculates or retrieves the variable force and stores it under the name force. The right side, boundary_force(image, surface), describes how it is obtained.

force += smoothness_force(surface) — Calls force += smoothness_force to perform the named conceptual operation using the values inside parentheses.

force += atlas_or_shape_force(surface) — Calls force += atlas_or_shape_force to perform the named conceptual operation using the values inside parentheses.

surface = deform(surface, force) — Calculates or retrieves the current surface mesh and stores it under the name surface. The right side, deform(surface, force), describes how it is obtained.

until stable — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

brain_mask = rasterize(surface) — Calculates or retrieves the predicted brain-only mask and stores it under the name brain_mask. The right side, rasterize(surface), describes how it is obtained.

## Walkthrough 11: Probabilistic atlas registration with mri_em_register

Language: bash.

mri_em_register nu.mgz atlas.gca transforms/talairach.lta — Linearly aligns the image with a probabilistic anatomical atlas.

## Walkthrough 12: Probabilistic atlas registration with mri_em_register

Language: python.

A = initial_affine — Calculates or retrieves an affine transformation and stores it under the name A. The right side, initial_affine, describes how it is obtained.

repeat: — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

posteriors = class_posterior(image, atlas_priors, A) — Calculates or retrieves the current probabilities of possible tissue labels and stores it under the name posteriors. The right side, class_posterior(image, atlas_priors, A), describes how it is obtained.

A = maximize_expected_atlas_likelihood(image, atlas, posteriors) — Calculates or retrieves an affine transformation and stores it under the name A. The right side, maximize_expected_atlas_likelihood(image, atlas, posteriors), describes how it is obtained.

until convergence — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

## Walkthrough 13: mri_ca_normalize: atlas-guided intensity normalization

Language: bash.

mri_ca_normalize \ — Normalizes image brightness using atlas and control-point information. The trailing backslash continues the same command on the next line.

-c ctrl_pts.mgz \ — The -c option provides control points. The trailing backslash continues the same command.

nu.mgz atlas.gca transforms/talairach.lta norm.mgz — Supplies an input, output, or positional file required by the command; its exact role follows the command syntax above.

## Walkthrough 14: mri_ca_normalize: atlas-guided intensity normalization

Language: python.

repeat: — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

likely_tissues = classify_using_atlas(image, transform) — Calculates or retrieves the variable likely_tissues and stores it under the name likely_tissues. The right side, classify_using_atlas(image, transform), describes how it is obtained.

control_points = select_reliable_white_matter(likely_tissues) — Calculates or retrieves the variable control_points and stores it under the name control_points. The right side, select_reliable_white_matter(likely_tissues), describes how it is obtained.

correction = fit_smooth_intensity_field(image, control_points) — Calculates or retrieves the variable correction and stores it under the name correction. The right side, fit_smooth_intensity_field(image, control_points), describes how it is obtained.

image = apply(correction, image) — Calculates or retrieves the variable image and stores it under the name image. The right side, apply(correction, image), describes how it is obtained.

until white_matter_target_is_stable — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

## Walkthrough 15: mri_ca_register: nonlinear atlas registration

Language: bash.

mri_ca_register \ — Computes nonlinear alignment to the classifier atlas. The trailing backslash continues the same command on the next line.

-align-after \ — The -align-after option requests an additional alignment refinement. The trailing backslash continues the same command.

norm.mgz atlas.gca transforms/talairach.lta transforms/talairach.m3z — Continues the shell command with the shown positional file or setting.

## Walkthrough 16: mri_ca_register: nonlinear atlas registration

Language: python.

phi = affine_initialization — Calculates or retrieves a nonlinear transformation and stores it under the name phi. The right side, affine_initialization, describes how it is obtained.

for resolution in coarse_to_fine: — Starts a loop that performs the indented steps once for every listed item.

repeat: — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

likelihood_gradient = atlas_likelihood_gradient(image, atlas, phi) — Calculates or retrieves the variable likelihood_gradient and stores it under the name likelihood_gradient. The right side, atlas_likelihood_gradient(image, atlas, phi), describes how it is obtained.

regularization_gradient = deformation_penalty_gradient(phi) — Calculates or retrieves the variable regularization_gradient and stores it under the name regularization_gradient. The right side, deformation_penalty_gradient(phi), describes how it is obtained.

phi = update(phi, likelihood_gradient, regularization_gradient) — Calculates or retrieves a nonlinear transformation and stores it under the name phi. The right side, update(phi, likelihood_gradient, regularization_gradient), describes how it is obtained.

until convergence — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

## Walkthrough 17: mri_ca_label: Bayesian anatomical labeling

Language: bash.

mri_ca_label \ — Assigns probabilistic anatomical labels to voxels. The trailing backslash continues the same command on the next line.

norm.mgz transforms/talairach.m3z atlas.gca aseg.auto.mgz — Supplies an input, output, or positional file required by the command; its exact role follows the command syntax above.

## Walkthrough 18: mri_ca_label: Bayesian anatomical labeling

Language: python.

for voxel in brain: — Starts a loop that performs the indented steps once for every listed item.

for label in candidate_labels: — Starts a loop that performs the indented steps once for every listed item.

score[label] = intensity_likelihood(label) — Calls score[label] = intensity_likelihood to perform the named conceptual operation using the values inside parentheses.

score[label] *= atlas_prior(label, transformed_position) — Calls score[label] *= atlas_prior to perform the named conceptual operation using the values inside parentheses.

score[label] *= neighborhood_compatibility(label, neighbors) — Calls score[label] *= neighborhood_compatibility to perform the named conceptual operation using the values inside parentheses.

output[voxel] = argmax(score) — Updates this selected output entry with the newly calculated value.

## Walkthrough 19: Surface reconstruction with mris_make_surfaces

Language: bash.

mris_make_surfaces -noaparc sub-001 lh — Constructs or adjusts a cortical surface mesh.

mris_sphere sub-001/surf/lh.inflated sub-001/surf/lh.sphere — Inflates and maps a cortical surface to a sphere.

mris_register sub-001/surf/lh.sphere atlas.sphere.reg \ — Aligns a spherical cortical surface with a spherical atlas. The trailing backslash continues the same command on the next line.

sub-001/surf/lh.sphere.reg — Continues the shell command with the shown positional file or setting.

mris_ca_label sub-001 lh sphere.reg classifier.gcs lh.aparc.annot — Assigns atlas labels to cortical surface vertices.

## Walkthrough 20: Surface reconstruction with mris_make_surfaces

Language: python.

white = initialize_mesh(white_matter_segmentation) — Calculates or retrieves the white-matter cortical surface and stores it under the name white. The right side, initialize_mesh(white_matter_segmentation), describes how it is obtained.

white = deform_to_intensity_boundary(white, t1_image, smoothness=True) — Calculates or retrieves the white-matter cortical surface and stores it under the name white. The right side, deform_to_intensity_boundary(white, t1_image, smoothness=True), describes how it is obtained.

white = correct_topology(white) — Calculates or retrieves the white-matter cortical surface and stores it under the name white. The right side, correct_topology(white), describes how it is obtained.

pial = expand_and_deform(white, gray_csf_boundary) — Calculates or retrieves the outer cortical surface and stores it under the name pial. The right side, expand_and_deform(white, gray_csf_boundary), describes how it is obtained.

sphere = inflate_and_project_to_sphere(white) — Calculates or retrieves the spherical version of the cortex and stores it under the name sphere. The right side, inflate_and_project_to_sphere(white), describes how it is obtained.

sphere_reg = align_folding_features(sphere, atlas) — Calculates or retrieves the sphere aligned with the atlas and stores it under the name sphere_reg. The right side, align_folding_features(sphere, atlas), describes how it is obtained.

annotations = classify_surface_vertices(sphere_reg, atlas_classifier) — Calculates or retrieves the cortical region names assigned to vertices and stores it under the name annotations. The right side, classify_surface_vertices(sphere_reg, atlas_classifier), describes how it is obtained.

## Walkthrough 21: Volumetric parcellation with mri_aparc2aseg

Language: bash.

mri_aparc2aseg \ — Converts surface annotations into a labeled volume and merges subcortical labels. The trailing backslash continues the same command on the next line.

--s sub-001 \ — The --s option selects the FreeSurfer subject. The trailing backslash continues the same command.

--annot DKTatlas \ — The --annot option selects the cortical annotation. The trailing backslash continues the same command.

--o aparc.DKTatlas+aseg.mgz — The --o option names an output image or result.

## Walkthrough 22: Volumetric parcellation with mri_aparc2aseg

Language: python.

output = copy(subcortical_aseg) — Calculates or retrieves the result being built and stores it under the name output. The right side, copy(subcortical_aseg), describes how it is obtained.

for cortical_voxel in ribbon: — Starts a loop that performs the indented steps once for every listed item.

hemisphere = determine_hemisphere(cortical_voxel) — Calculates or retrieves the variable hemisphere and stores it under the name hemisphere. The right side, determine_hemisphere(cortical_voxel), describes how it is obtained.

vertex = nearest_valid_surface_vertex(cortical_voxel, hemisphere) — Calculates or retrieves the variable vertex and stores it under the name vertex. The right side, nearest_valid_surface_vertex(cortical_voxel, hemisphere), describes how it is obtained.

output[cortical_voxel] = annotation[vertex] — Represents the stated conceptual processing step; production software expands it into validated library operations.

## Walkthrough 23: Regional summaries with mri_segstats

Language: bash.

mri_segstats \ — Calculates counts, volumes, and optional scalar summaries by anatomical label. The trailing backslash continues the same command on the next line.

--seg aparc.DKTatlas+aseg.mgz \ — The --seg option selects the label image to summarize. The trailing backslash continues the same command.

--sum dkt_volume_stats.txt — The --sum option names the regional statistics output.

## Walkthrough 24: Regional summaries with mri_segstats

Language: python.

for label in unique(segmentation): — Starts a loop that performs the indented steps once for every listed item.

mask = segmentation == label — Calculates or retrieves the voxels included in a region or operation and stores it under the name mask. The right side, segmentation == label, describes how it is obtained.

voxel_count = sum(mask) — Calculates or retrieves the number of selected voxels and stores it under the name voxel_count. The right side, sum(mask), describes how it is obtained.

volume_mm3 = voxel_count * voxel_volume — Calculates or retrieves the physical region volume and stores it under the name volume_mm3. The right side, voxel_count * voxel_volume, describes how it is obtained.

mean_value = mean(measure_image[mask]) — Calculates or retrieves the average scalar value in the region and stores it under the name mean_value. The right side, mean(measure_image[mask]), describes how it is obtained.

## Walkthrough 25: BIDS discovery and Nipype workflow construction

Language: python.

layout = BIDSLayout(bids_dir) — Calculates or retrieves the searchable BIDS dataset index and stores it under the name layout. The right side, BIDSLayout(bids_dir), describes how it is obtained.

dwi = layout.get(subject=subject, suffix="dwi") — Calculates or retrieves the selected diffusion images and stores it under the name dwi. The right side, layout.get(subject=subject, suffix="dwi"), describes how it is obtained.

fmap = find_intended_fieldmaps(layout, dwi) — Calculates or retrieves fieldmaps linked to the diffusion run and stores it under the name fmap. The right side, find_intended_fieldmaps(layout, dwi), describes how it is obtained.

workflow = Workflow("qsiprep") — Calculates or retrieves the processing graph being assembled and stores it under the name workflow. The right side, Workflow("qsiprep"), describes how it is obtained.

workflow.connect(denoise, "dwi", unring, "dwi") — Draws a data-flow connection from one processing output to the next processing input.

workflow.connect(unring, "dwi", motion_and_sdc, "dwi") — Draws a data-flow connection from one processing output to the next processing input.

workflow.connect(motion_and_sdc, "corrected", resample, "dwi") — Draws a data-flow connection from one processing output to the next processing input.

## Walkthrough 26: MP-PCA denoising

Language: bash.

dwidenoise dwi.nii.gz dwi_denoised.nii.gz \ — Removes noise using local MP-PCA while preserving structured diffusion signal. The trailing backslash continues the same command on the next line.

-noise noise_map.nii.gz — The -noise option writes the estimated noise map.

## Walkthrough 27: MP-PCA denoising

Language: python.

for spatial_patch in image: — Starts a loop that performs the indented steps once for every listed item.

X = patch_as_voxels_by_volumes(spatial_patch) — Calculates or retrieves the local data matrix and stores it under the name X. The right side, patch_as_voxels_by_volumes(spatial_patch), describes how it is obtained.

U, singular_values, Vt = svd(X) — Calls U, singular_values, Vt = svd to perform the named conceptual operation using the values inside parentheses.

threshold = marchenko_pastur_noise_edge(singular_values, X.shape) — Calculates or retrieves the estimated noise boundary and stores it under the name threshold. The right side, marchenko_pastur_noise_edge(singular_values, X.shape), describes how it is obtained.

keep = singular_values > threshold — Calculates or retrieves which components exceed the noise boundary and stores it under the name keep. The right side, singular_values > threshold, describes how it is obtained.

denoised_patch = U[:, keep] @ diag(singular_values[keep]) @ Vt[keep] — Calculates or retrieves the reconstructed low-noise patch and stores it under the name denoised_patch. The right side, U[:, keep] @ diag(singular_values[keep]) @ Vt[keep], describes how it is obtained.

aggregate_overlapping_patch_estimates(denoised_patch) — Calls aggregate_overlapping_patch_estimates to perform the named conceptual operation using the values inside parentheses.

## Walkthrough 28: Gibbs-ringing correction

Language: bash.

mrdegibbs dwi_denoised.nii.gz dwi_unringed.nii.gz — Reduces Gibbs ringing caused by limited Fourier sampling.

## Walkthrough 29: Gibbs-ringing correction

Language: python.

for line in each_image_direction: — Starts a loop that performs the indented steps once for every listed item.

candidates = [fourier_subvoxel_shift(line, delta) for delta in shifts] — Calculates or retrieves the candidate corrected lines or paths and stores it under the name candidates. The right side, [fourier_subvoxel_shift(line, delta) for delta in shifts], describes how it is obtained.

score = [local_total_variation(candidate) for candidate in candidates] — Calculates or retrieves the quality score for each candidate and stores it under the name score. The right side, [local_total_variation(candidate) for candidate in candidates], describes how it is obtained.

output_line = candidates[argmin(score)] — Calculates or retrieves the variable output_line and stores it under the name output_line. The right side, candidates[argmin(score)], describes how it is obtained.

## Walkthrough 30: Susceptibility correction with FSL topup

Language: bash.

topup \ — Estimates susceptibility distortion from opposite phase-encoding images. The trailing backslash continues the same command on the next line.

--imain=paired_b0s.nii.gz \ — The --imain option provides the main input image series. The trailing backslash continues the same command.

--datain=acqparams.txt \ — The --datain option provides phase-encoding and readout metadata. The trailing backslash continues the same command.

--config=b02b0.cnf \ — The --config option selects the program configuration. The trailing backslash continues the same command.

--out=topup_results — The --out option sets an output prefix.

## Walkthrough 31: Susceptibility correction with FSL topup

Language: python.

field = initialize_smooth_off_resonance_field() — Calculates or retrieves the current susceptibility field estimate and stores it under the name field. The right side, initialize_smooth_off_resonance_field(), describes how it is obtained.

repeat: — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

corrected_forward = unwarp(forward_b0, field, pe_direction=+1) — Calculates or retrieves the variable corrected_forward and stores it under the name corrected_forward. The right side, unwarp(forward_b0, field, pe_direction=+1), describes how it is obtained.

corrected_reverse = unwarp(reverse_b0, field, pe_direction=-1) — Calculates or retrieves the variable corrected_reverse and stores it under the name corrected_reverse. The right side, unwarp(reverse_b0, field, pe_direction=-1), describes how it is obtained.

loss = similarity(corrected_forward, corrected_reverse) — Calculates or retrieves the total mismatch being minimized and stores it under the name loss. The right side, similarity(corrected_forward, corrected_reverse), describes how it is obtained.

loss += smoothness_penalty(field) — Calls loss += smoothness_penalty to perform the named conceptual operation using the values inside parentheses.

field = optimizer_update(field, loss) — Calculates or retrieves the current susceptibility field estimate and stores it under the name field. The right side, optimizer_update(field, loss), describes how it is obtained.

until convergence — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

## Walkthrough 32: Motion and eddy-current correction with FSL eddy

Language: bash.

eddy_openmp \ — Corrects motion and eddy-current distortion using multithreaded FSL eddy. The trailing backslash continues the same command on the next line.

--imain=dwi.nii.gz \ — The --imain option provides the main input image series. The trailing backslash continues the same command.

--mask=mask.nii.gz \ — The --mask option provides a brain mask. The trailing backslash continues the same command.

--acqp=acqparams.txt \ — The --acqp option provides acquisition parameters. The trailing backslash continues the same command.

--index=index.txt \ — The --index option maps each volume to its acquisition row. The trailing backslash continues the same command.

--bvecs=bvecs \ — The --bvecs option provides diffusion-gradient directions. The trailing backslash continues the same command.

--bvals=bvals \ — The --bvals option provides diffusion-weighting values. The trailing backslash continues the same command.

--topup=topup_results \ — The --topup option provides the topup result prefix. The trailing backslash continues the same command.

--out=eddy_corrected — The --out option sets an output prefix.

## Walkthrough 33: Motion and eddy-current correction with FSL eddy

Language: python.

repeat: — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

prediction = gaussian_process_predict_each_volume(corrected_data, qspace) — Calculates or retrieves the model prediction used as an alignment target and stores it under the name prediction. The right side, gaussian_process_predict_each_volume(corrected_data, qspace), describes how it is obtained.

transforms = register_each_volume_to_prediction(data, prediction) — Calculates or retrieves the spatial alignments and stores it under the name transforms. The right side, register_each_volume_to_prediction(data, prediction), describes how it is obtained.

detect_and_replace_slice_outliers(data, prediction) — Calls detect_and_replace_slice_outliers to perform the named conceptual operation using the values inside parentheses.

corrected_data = resample_with_motion_eddy_and_susceptibility(transforms) — Calculates or retrieves the variable corrected_data and stores it under the name corrected_data. The right side, resample_with_motion_eddy_and_susceptibility(transforms), describes how it is obtained.

rotated_bvecs = [rotation(T) @ g for T, g in zip(transforms, bvecs)] — Calculates or retrieves the variable rotated_bvecs and stores it under the name rotated_bvecs. The right side, [rotation(T) @ g for T, g in zip(transforms, bvecs)], describes how it is obtained.

until convergence — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

## Walkthrough 34: ANTs registration and lesion cost-function masking

Language: bash.

antsRegistration \ — Estimates image alignment using the requested metrics and transforms. The trailing backslash continues the same command on the next line.

--dimensionality 3 \ — The --dimensionality option sets the number of spatial dimensions. The trailing backslash continues the same command.

--metric "CC[fixed.nii.gz,moving.nii.gz,1,4,Regular,0.2]" \ — The --metric option defines how image similarity is scored. The trailing backslash continues the same command.

--masks "[fixed_fit_mask.nii.gz,moving_fit_mask.nii.gz]" \ — The --masks option limits which voxels contribute to registration fitting. The trailing backslash continues the same command.

--transform "SyN[0.1,3,0]" — The --transform option selects a transform model and step parameters.

## Walkthrough 35: ANTs registration and lesion cost-function masking

Language: python.

fit_mask = brain_mask & ~lesion_mask — Calculates or retrieves healthy voxels permitted to influence registration and stores it under the name fit_mask. The right side, brain_mask & ~lesion_mask, describes how it is obtained.

phi = initialize_affine() — Calculates or retrieves a nonlinear transformation and stores it under the name phi. The right side, initialize_affine(), describes how it is obtained.

for stage in [rigid, affine, nonlinear]: — Starts a loop that performs the indented steps once for every listed item.

phi = minimize( — Calculates or retrieves a nonlinear transformation and stores it under the name phi. The right side, minimize(, describes how it is obtained.

similarity(fixed, warp(moving, phi), domain=fit_mask) — Calls similarity to perform the named conceptual operation using the values inside parentheses.

+ regularization(phi) — Calls + regularization to perform the named conceptual operation using the values inside parentheses.

) — Calls ) to perform the named conceptual operation using the values inside parentheses.

## Walkthrough 36: N4 bias-field correction

Language: bash.

N4BiasFieldCorrection \ — Corrects smooth intensity nonuniformity with ANTs N4. The trailing backslash continues the same command on the next line.

-d 3 \ — The -d option sets image dimensionality. The trailing backslash continues the same command.

-i T1w.nii.gz \ — The -i option provides the input image. The trailing backslash continues the same command.

-x brain_mask.nii.gz \ — The -x option provides a mask. The trailing backslash continues the same command.

-o "[T1w_n4.nii.gz,bias_field.nii.gz]" — The -o option names output files.

## Walkthrough 37: SHORELine and 3dSHORE signal prediction

Language: python.

corrected = input_dwi — Calculates or retrieves the current corrected image and stores it under the name corrected. The right side, input_dwi, describes how it is obtained.

repeat: — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

for volume in corrected: — Starts a loop that performs the indented steps once for every listed item.

model = fit_3dshore(corrected excluding volume, gradients) — Calculates or retrieves the variable model and stores it under the name model. The right side, fit_3dshore(corrected excluding volume, gradients), describes how it is obtained.

predicted = model.predict(gradient_of(volume)) — Calculates or retrieves the variable predicted and stores it under the name predicted. The right side, model.predict(gradient_of(volume)), describes how it is obtained.

transform = rigid_register(volume, predicted) — Calculates or retrieves the variable transform and stores it under the name transform. The right side, rigid_register(volume, predicted), describes how it is obtained.

corrected[volume] = resample(volume, transform) — Updates this selected output entry with the newly calculated value.

gradients[volume] = rotation(transform) @ gradients[volume] — Represents the stated conceptual processing step; production software expands it into validated library operations.

until motion_parameters_stabilize — Conceptual loop marker: repeat the preceding operations until changes become small or the stated stopping rule is met.

## Walkthrough 38: Resampling and transform composition

Language: python.

composite = compose(susceptibility, eddy, motion, coregistration) — Calculates or retrieves the combined spatial transformation and stores it under the name composite. The right side, compose(susceptibility, eddy, motion, coregistration), describes how it is obtained.

preprocessed_dwi = resample_once( — Calculates or retrieves the final resampled diffusion series and stores it under the name preprocessed_dwi. The right side, resample_once(, describes how it is obtained.

raw_dwi, — Represents the stated conceptual processing step; production software expands it into validated library operations.

transform=composite, — Calculates or retrieves the variable transform and stores it under the name transform. The right side, composite,, describes how it is obtained.

target_grid=t1w_or_requested_grid — Calculates or retrieves the variable target_grid and stores it under the name target_grid. The right side, t1w_or_requested_grid, describes how it is obtained.

) — Calls ) to perform the named conceptual operation using the values inside parentheses.

## Walkthrough 39: SynthStrip and SynthSeg

Language: python.

brain_mask = synthstrip(t1w) — Calculates or retrieves the predicted brain-only mask and stores it under the name brain_mask. The right side, synthstrip(t1w), describes how it is obtained.

tissue_labels = synthseg(t1w, mask=brain_mask) — Calculates or retrieves the predicted anatomical labels and stores it under the name tissue_labels. The right side, synthseg(t1w, mask=brain_mask), describes how it is obtained.

## Walkthrough 40: QSIPrep quality control

Language: python.

qc = { — Calculates or retrieves a collection of quality measurements and stores it under the name qc. The right side, {, describes how it is obtained.

"mean_translation": mean(norm(motion[:, :3], axis=1)), — Represents the stated conceptual processing step; production software expands it into validated library operations.

"mean_rotation": mean(norm(motion[:, 3:], axis=1)), — Represents the stated conceptual processing step; production software expands it into validated library operations.

"outlier_fraction": outlier_slices / total_slices, — Represents the stated conceptual processing step; production software expands it into validated library operations.

"prediction_residual": norm(observed - predicted) / norm(predicted), — Represents the stated conceptual processing step; production software expands it into validated library operations.

} — Represents the stated conceptual processing step; production software expands it into validated library operations.

## Walkthrough 41: YAML reconstruction specifications as executable graphs

Language: yaml.

name: example_mrtrix_workflow — Gives the entire reconstruction workflow a readable name.

nodes: — Begins the list of processing nodes.

- name: estimate_fod — Starts a new workflow node and gives it a unique name.

software: MRTrix3 — Selects the software family that will perform this node.

action: csd — Selects the operation that the software interface should run.

- name: tractography — Starts a new workflow node and gives it a unique name.

software: MRTrix3 — Selects the software family that will perform this node.

action: tractography — Selects the operation that the software interface should run.

input: estimate_fod — Connects this node to the named upstream node output.

## Walkthrough 42: YAML reconstruction specifications as executable graphs

Language: python.

spec = load_yaml(path) — Calculates or retrieves the loaded YAML reconstruction recipe and stores it under the name spec. The right side, load_yaml(path), describes how it is obtained.

graph = DirectedAcyclicGraph() — Calculates or retrieves the directed processing graph and stores it under the name graph. The right side, DirectedAcyclicGraph(), describes how it is obtained.

for node_spec in spec["nodes"]: — Starts a loop that performs the indented steps once for every listed item.

node = build_interface(node_spec["software"], node_spec["action"]) — Calculates or retrieves one processing operation and stores it under the name node. The right side, build_interface(node_spec["software"], node_spec["action"]), describes how it is obtained.

graph.add(node) — Adds the newly created processing node to the workflow graph.

if "input" in node_spec: — Tests a condition; the indented step runs only when it is true.

graph.connect(node_spec["input"], node) — Draws a data-flow connection from one processing output to the next processing input.

assert graph.is_acyclic() — Stops with an error if the required safety condition is not true.

workflow = compile_to_nipype(graph) — Calculates or retrieves the processing graph being assembled and stores it under the name workflow. The right side, compile_to_nipype(graph), describes how it is obtained.

## Walkthrough 43: Diffusion tensor model and FA, MD, AD, RD

Language: bash.

dwi2tensor dwi.mif tensor.mif — Fits a diffusion tensor at each valid voxel.

tensor2metric tensor.mif \ — Converts fitted tensors into scalar maps such as FA, MD, AD, and RD. The trailing backslash continues the same command on the next line.

-fa fa.mif \ — The -fa option writes fractional anisotropy. The trailing backslash continues the same command.

-adc md.mif \ — The -adc option writes mean diffusivity or apparent diffusion coefficient. The trailing backslash continues the same command.

-ad ad.mif \ — The -ad option writes axial diffusivity. The trailing backslash continues the same command.

-rd rd.mif — The -rd option writes radial diffusivity.

## Walkthrough 44: Response functions and constrained spherical deconvolution

Language: bash.

dwi2response dhollander dwi.mif \ — Estimates representative tissue response functions. The trailing backslash continues the same command on the next line.

wm_response.txt gm_response.txt csf_response.txt — Supplies an input, output, or positional file required by the command; its exact role follows the command syntax above.

dwi2fod msmt_csd dwi.mif \ — Estimates tissue compartments and a white-matter FOD from diffusion data. The trailing backslash continues the same command on the next line.

wm_response.txt wmfod.mif \ — Supplies an input, output, or positional file required by the command; its exact role follows the command syntax above.

gm_response.txt gm.mif \ — Supplies an input, output, or positional file required by the command; its exact role follows the command syntax above.

csf_response.txt csf.mif — Supplies an input, output, or positional file required by the command; its exact role follows the command syntax above.

## Walkthrough 45: Single-shell three-tissue CSD

Language: bash.

dwi2response dhollander dwi.mif wm.txt gm.txt csf.txt — Estimates representative tissue response functions.

# The exact SS3T operation depends on the MRtrix3Tissue/QSIRecon implementation. — Comment for the reader: The exact SS3T operation depends on the MRtrix3Tissue/QSIRecon implementation.. It is not executed.

ss3t_csd_beta1 dwi.mif wm.txt wmfod.mif gm.txt gm.mif csf.txt csf.mif — Runs the version-specific single-shell three-tissue CSD implementation.

## Walkthrough 46: Multi-tissue intensity normalization with mtnormalise

Language: bash.

mtnormalise \ — Jointly normalizes tissue amplitudes and corrects smooth residual bias. The trailing backslash continues the same command on the next line.

wmfod.mif wmfod_norm.mif \ — Supplies an input, output, or positional file required by the command; its exact role follows the command syntax above.

gm.mif gm_norm.mif \ — Supplies an input, output, or positional file required by the command; its exact role follows the command syntax above.

csf.mif csf_norm.mif \ — Supplies an input, output, or positional file required by the command; its exact role follows the command syntax above.

-mask brain_mask.mif — The -mask option limits processing to a brain mask.

## Walkthrough 47: HSVS five-tissue-type image

Language: bash.

5ttgen hsvs /subjects/sub-001 base_5tt.mif — Builds a five-tissue-type image for ACT.

5ttcheck base_5tt.mif — Checks whether a 5TT image has the expected tissue organization.

5tt2gmwmi base_5tt.mif gmwm_seed.mif — Creates a gray–white matter interface image for seeding or QC.

## Walkthrough 48: HSVS five-tissue-type image

Language: bash.

5ttedit base_5tt.mif lesion_aware_5tt.mif \ — Edits selected channels of an existing 5TT image. The trailing backslash continues the same command on the next line.

-path lesion_in_5tt_space.mif — The -path option places the supplied mask in the pathological 5TT channel.

5ttcheck lesion_aware_5tt.mif — Checks whether a 5TT image has the expected tissue organization.

## Walkthrough 49: Anatomically constrained tractography

Language: python.

while streamline_is_active: — Repeats the indented steps while this condition remains true.

direction = tractography_model.sample_direction(position) — Calculates or retrieves the current propagation direction and stores it under the name direction. The right side, tractography_model.sample_direction(position), describes how it is obtained.

next_position = integrate(position, direction) — Calculates or retrieves the variable next_position and stores it under the name next_position. The right side, integrate(position, direction), describes how it is obtained.

tissue = five_tissue_image(next_position) — Calculates or retrieves the five-tissue values at a proposed point and stores it under the name tissue. The right side, five_tissue_image(next_position), describes how it is obtained.

if transition_is_anatomically_valid(previous_tissue, tissue): — Tests a condition; the indented step runs only when it is true.

continue — Represents the stated conceptual processing step; production software expands it into validated library operations.

elif transition_is_valid_termination(previous_tissue, tissue): — Tests another condition only if the earlier condition was false.

terminate_and_accept() — Calls terminate_and_accept to perform the named conceptual operation using the values inside parentheses.

else: — Runs the following step when none of the earlier conditions were true.

reject_or_backtrack() — Calls reject_or_backtrack to perform the named conceptual operation using the values inside parentheses.

## Walkthrough 50: Anatomically constrained tractography

Language: bash.

tckgen wmfod.mif tracks.tck \ — Generates streamlines from the FOD under tractography and ACT rules. The trailing backslash continues the same command on the next line.

-algorithm iFOD2 \ — The -algorithm option selects the tractography algorithm. The trailing backslash continues the same command.

-act five_tissue.mif \ — The -act option provides the ACT five-tissue image. The trailing backslash continues the same command.

-backtrack \ — The -backtrack option allows ACT to reverse a failed step. The trailing backslash continues the same command.

-crop_at_gmwmi \ — The -crop_at_gmwmi option crops accepted endpoints at the gray–white interface. The trailing backslash continues the same command.

-seed_dynamic wmfod.mif \ — The -seed_dynamic option seeds according to the white-matter FOD. The trailing backslash continues the same command.

-select 10000000 — The -select option sets the target number of accepted streamlines.

## Walkthrough 51: iFOD2 probabilistic streamline integration

Language: python.

position, direction = seed() — Calls position, direction = seed to perform the named conceptual operation using the values inside parentheses.

while valid: — Repeats the indented steps while this condition remains true.

arcs = propose_candidate_arcs(position, direction, step_size, max_angle) — Calculates or retrieves candidate curved steps and stores it under the name arcs. The right side, propose_candidate_arcs(position, direction, step_size, max_angle), describes how it is obtained.

scores = [integrated_fod_amplitude(arc, wmfod) for arc in arcs] — Calculates or retrieves FOD support for candidate steps and stores it under the name scores. The right side, [integrated_fod_amplitude(arc, wmfod) for arc in arcs], describes how it is obtained.

arc = probabilistic_sample(arcs, scores) — Calculates or retrieves the variable arc and stores it under the name arc. The right side, probabilistic_sample(arcs, scores), describes how it is obtained.

position, direction = advance_along(arc) — Calls position, direction = advance_along to perform the named conceptual operation using the values inside parentheses.

apply_cutoff_length_mask_and_act_rules() — Calls apply_cutoff_length_mask_and_act_rules to perform the named conceptual operation using the values inside parentheses.

## Walkthrough 52: SIFT2 streamline weighting

Language: bash.

tcksift2 tracks.tck wmfod.mif sift2_weights.txt \ — Assigns one diffusion-informed weight to each streamline. The trailing backslash continues the same command on the next line.

-act five_tissue.mif \ — The -act option provides the ACT five-tissue image. The trailing backslash continues the same command.

-out_mu sift2_mu.txt — The -out_mu option writes the global SIFT2 proportionality coefficient.

## Walkthrough 53: Connectome construction with tck2connectome

Language: bash.

tck2connectome tracks.tck nodes.mif count.csv \ — Groups streamlines by endpoint regions to make a connectivity matrix. The trailing backslash continues the same command on the next line.

-symmetric -zero_diagonal — The -zero_diagonal option sets self-connections to zero.

tck2connectome tracks.tck nodes.mif sift2.csv \ — Groups streamlines by endpoint regions to make a connectivity matrix. The trailing backslash continues the same command on the next line.

-tck_weights_in sift2_weights.txt \ — The -tck_weights_in option uses supplied per-streamline weights. The trailing backslash continues the same command.

-symmetric -zero_diagonal — The -zero_diagonal option sets self-connections to zero.

tck2connectome tracks.tck nodes.mif mean_length.csv \ — Groups streamlines by endpoint regions to make a connectivity matrix. The trailing backslash continues the same command on the next line.

-scale_length -stat_edge mean \ — The -scale_length option uses streamline length as the edge contribution. The trailing backslash continues the same command.

-symmetric -zero_diagonal — The -zero_diagonal option sets self-connections to zero.

## Walkthrough 54: Sampling scalar maps along streamlines

Language: bash.

tcksample tracks.tck fa.mif streamline_mean_fa.txt \ — Samples an image value repeatedly along each streamline. The trailing backslash continues the same command on the next line.

-stat_tck mean — The -stat_tck option selects the summary calculated along each streamline.

## Walkthrough 55: Atlas transformations and node assignment

Language: bash.

antsApplyTransforms \ — Applies saved spatial transforms to an image. The trailing backslash continues the same command on the next line.

-d 3 \ — The -d option sets image dimensionality. The trailing backslash continues the same command.

-i dkt_labels.nii.gz \ — The -i option provides the input image. The trailing backslash continues the same command.

-r dwiref.nii.gz \ — The -r option provides the target reference grid. The trailing backslash continues the same command.

-o dkt_in_dwi.nii.gz \ — The -o option names output files. The trailing backslash continues the same command.

-n NearestNeighbor \ — The -n option selects interpolation. The trailing backslash continues the same command.

-t anatomical_to_dwi_transform.mat — The -t option provides a transform to apply.

labelconvert dkt_in_dwi.nii.gz \ — Converts segmentation label numbers using source and target lookup tables. The trailing backslash continues the same command on the next line.

FreeSurferColorLUT.txt fs_dkt.txt nodes.mif — Supplies an input, output, or positional file required by the command; its exact role follows the command syntax above.

## Walkthrough 56: End-to-end code sketch for our pipeline

Language: bash.

# Preprocessing is performed by QSIPrep. — Comment for the reader: Preprocessing is performed by QSIPrep.. It is not executed.

qsiprep /bids /derivatives participant \ — Runs the QSIPrep BIDS application. The trailing backslash continues the same command on the next line.

--participant-label 001 \ — The --participant-label option selects the participant. The trailing backslash continues the same command.

--output-resolution 2 — The --output-resolution option sets output voxel size in millimeters.

# Anatomical reconstruction uses the inpainted T1w. — Comment for the reader: Anatomical reconstruction uses the inpainted T1w.. It is not executed.

recon-all -all -s sub-001 -i inpainted_T1w.nii.gz — Runs FreeSurfer anatomical reconstruction stages.

# QSIRecon estimates FODs and runs standard ACT. — Comment for the reader: QSIRecon estimates FODs and runs standard ACT.. It is not executed.

qsirecon /derivatives/qsiprep /derivatives/qsirecon participant \ — Runs the QSIRecon reconstruction BIDS application. The trailing backslash continues the same command on the next line.

--input-type qsiprep \ — The --input-type option declares the format of reconstruction inputs. The trailing backslash continues the same command.

--recon-spec mrtrix_singleshell_ss3t_ACT-hsvs \ — The --recon-spec option selects the QSIRecon workflow recipe. The trailing backslash continues the same command.

--fs-subjects-dir /subjects — The --fs-subjects-dir option provides the FreeSurfer subjects directory.

# Proposed lesion-aware branch. — Comment for the reader: Proposed lesion-aware branch.. It is not executed.

antsApplyTransforms \ — Applies saved spatial transforms to an image. The trailing backslash continues the same command on the next line.

-i lesion_native_T1w.nii.gz \ — The -i option provides the input image. The trailing backslash continues the same command.

-r base_5tt_reference.nii.gz \ — The -r option provides the target reference grid. The trailing backslash continues the same command.

-o lesion_in_5tt_space.nii.gz \ — The -o option names output files. The trailing backslash continues the same command.

-n NearestNeighbor \ — The -n option selects interpolation. The trailing backslash continues the same command.

-t lesion_to_5tt_transforms — The -t option provides a transform to apply.

5ttedit base_5tt.mif lesion_aware_5tt.mif \ — Edits selected channels of an existing 5TT image. The trailing backslash continues the same command on the next line.

-path lesion_in_5tt_space.nii.gz — The -path option places the supplied mask in the pathological 5TT channel.

tckgen wmfod.mif lesion_aware_tracks.tck \ — Generates streamlines from the FOD under tractography and ACT rules. The trailing backslash continues the same command on the next line.

-algorithm iFOD2 \ — The -algorithm option selects the tractography algorithm. The trailing backslash continues the same command.

-act lesion_aware_5tt.mif \ — The -act option provides the ACT five-tissue image. The trailing backslash continues the same command.

-seed_dynamic wmfod.mif \ — The -seed_dynamic option seeds according to the white-matter FOD. The trailing backslash continues the same command.

-select 10000000 — The -select option sets the target number of accepted streamlines.

tcksift2 lesion_aware_tracks.tck wmfod.mif lesion_aware_weights.txt \ — Assigns one diffusion-informed weight to each streamline. The trailing backslash continues the same command on the next line.

-act lesion_aware_5tt.mif — The -act option provides the ACT five-tissue image.

tck2connectome lesion_aware_tracks.tck dkt_nodes.mif dkt_sift2.csv \ — Groups streamlines by endpoint regions to make a connectivity matrix. The trailing backslash continues the same command on the next line.

-tck_weights_in lesion_aware_weights.txt \ — The -tck_weights_in option uses supplied per-streamline weights. The trailing backslash continues the same command.

-symmetric -zero_diagonal — The -zero_diagonal option sets self-connections to zero.

<!-- END GENERATED CODE WALKTHROUGHS -->

# Selected references

## FreeSurfer

Dale AM, Fischl B, Sereno MI. Cortical surface-based analysis I:

segmentation and surface reconstruction. *NeuroImage*. 1999;9:179–194.

Fischl B, Sereno MI, Dale AM. Cortical surface-based analysis II: inflation,

flattening, and a surface-based coordinate system. *NeuroImage*. 1999;9:195–207.

Fischl B, Dale AM. Measuring the thickness of the human cerebral cortex from

magnetic resonance images. *PNAS*. 2000;97:11050–11055.

Fischl B, Liu A, Dale AM. Automated manifold surgery: constructing

geometrically accurate and topologically correct models of the human cerebral cortex. *IEEE Transactions on Medical Imaging*. 2001.

Fischl B, Salat DH, Busa E, et al. Whole brain segmentation: automated

labeling of neuroanatomical structures in the human brain. *Neuron*. 2002.

Fischl B, van der Kouwe A, Destrieux C, et al. Automatically parcellating

the human cerebral cortex. *Cerebral Cortex*. 2004.

Ségonne F, Dale AM, Busa E, et al. A hybrid approach to the skull stripping

problem in MRI. *NeuroImage*. 2004. DOI: 10.1016/j.neuroimage.2004.03.032.

Reuter M, Rosas HD, Fischl B. Highly accurate inverse consistent

registration: a robust approach. *NeuroImage*. 2010.

Reuter M, Schmansky NJ, Rosas HD, Fischl B. Within-subject template

estimation for unbiased longitudinal image analysis. *NeuroImage*. 2012.

Sled JG, Zijdenbos AP, Evans AC. A nonparametric method for automatic

correction of intensity nonuniformity in MRI data. *IEEE Transactions on Medical Imaging*. 1998.

## QSIPrep, QSIRecon, and workflow infrastructure

Cieslak M, Cook PA, He X, et al. QSIPrep: an integrative platform for

preprocessing and reconstructing diffusion MRI data. *Nature Methods*. 2021;18:775–778. DOI: 10.1038/s41592-021-01185-5.

Gorgolewski KJ, Burns CD, Madison C, et al. Nipype: a flexible, lightweight

and extensible neuroimaging data processing framework in Python. *Frontiers in Neuroinformatics*. 2011.

Gorgolewski KJ, Auer T, Calhoun VD, et al. The Brain Imaging Data Structure,

a format for organizing and describing outputs of neuroimaging experiments. *Scientific Data*. 2016.

Esteban O, Markiewicz CJ, Blair RW, et al. fMRIPrep: a robust preprocessing

pipeline for functional MRI. *Nature Methods*. 2019.

## Representative integrated diffusion and registration methods

Tournier JD, Smith R, Raffelt D, et al. MRtrix3: a fast, flexible and open

software framework for medical image processing and visualisation. *NeuroImage*. 2019.

Smith RE, Tournier JD, Calamante F, Connelly A. Anatomically-constrained

tractography. *NeuroImage*. 2012.

Smith RE, Tournier JD, Calamante F, Connelly A. SIFT2: enabling dense

quantitative assessment of brain white matter connectivity using streamlines tractography. *NeuroImage*. 2015.

Avants BB, Tustison NJ, Song G, et al. A reproducible evaluation of ANTs

similarity metric performance in brain image registration. *NeuroImage*. 2011.

Tustison NJ, Avants BB, Cook PA, et al. N4ITK: improved N3 bias correction.

*IEEE Transactions on Medical Imaging*. 2010.

## Additional mathematical and implementation references

Brett M, Leff AP, Rorden C, Ashburner J. Spatial normalization of brain

images with focal lesions using cost function masking. *NeuroImage*. 2001.

Veraart J, Novikov DS, Christiaens D, Ades-Aron B, Sijbers J, Fieremans E.

Denoising of diffusion MRI using random matrix theory. *NeuroImage*. 2016. DOI: 10.1016/j.neuroimage.2016.08.016.

Kellner E, Dhital B, Kiselev VG, Reisert M. Gibbs-ringing artifact removal

based on local subvoxel-shifts. *Magnetic Resonance in Medicine*. 2016. DOI: 10.1002/mrm.26054.

Andersson JLR, Skare S, Ashburner J. How to correct susceptibility

distortions in spin-echo echo-planar images: application to diffusion tensor imaging. *NeuroImage*. 2003.

Andersson JLR, Sotiropoulos SN. An integrated approach to correction for

off-resonance effects and subject movement in diffusion MR imaging. *NeuroImage*. 2016. DOI: 10.1016/j.neuroimage.2015.10.019.

Özarslan E, Koay CG, Shepherd TM, Blackband SJ, Basser PJ. Simple harmonic

oscillator based reconstruction and estimation for three-dimensional q-space MRI. *Proceedings of ISMRM*. 2009;17:1396. This is the original 3dSHORE conference report.

Hoopes A, Mora JS, Dalca AV, Fischl B, Hoffmann M. SynthStrip:

skull-stripping for any brain image. *NeuroImage*. 2022.

Billot B, Greve DN, Puonti O, et al. SynthSeg: segmentation of brain MRI

scans of any contrast and resolution without retraining. *Medical Image Analysis*. 2023.

Basser PJ, Mattiello J, LeBihan D. MR diffusion tensor spectroscopy and

imaging. *Biophysical Journal*. 1994.

Tournier JD, Calamante F, Connelly A. Robust determination of the fibre

orientation distribution in diffusion MRI: non-negativity constrained super-resolved spherical deconvolution. *NeuroImage*. 2007.

Raffelt D, Dhollander T, Tournier JD, et al. Bias field correction and

intensity normalisation for quantitative analysis of apparent fibre density. *Proceedings of ISMRM*. 2017;26:3541. The current mtnormalise implementation additionally uses a log-domain formulation and gradual outlier rejection documented by MRtrix3.

Smith RE, Tournier JD, Calamante F, Connelly A. Anatomically-constrained

tractography: improved determination of streamline termination conditions. *NeuroImage*. 2012.

Smith RE, Tournier JD, Calamante F, Connelly A. SIFT2: enabling dense

quantitative assessment of brain white matter connectivity using streamlines tractography. *NeuroImage*. 2015.

Smith RE, Skoch A, Bajada C, Caspers S, Connelly A. Hybrid surface-volume

segmentation for improved anatomically constrained tractography. *Proceedings of the OHBM Annual Meeting*. 2020.

Jensen JH, Helpern JA, Ramani A, Lu H, Kaczynski K. Diffusional kurtosis

imaging: the quantification of non-Gaussian water diffusion by means of magnetic resonance imaging. *Magnetic Resonance in Medicine*. 2005.

Yeh FC, Wedeen VJ, Tseng WYI. Generalized q-sampling imaging.

*IEEE Transactions on Medical Imaging*. 2010.

Zhang H, Schneider T, Wheeler-Kingshott CA, Alexander DC. NODDI: practical

in vivo neurite orientation dispersion and density imaging of the human brain. *NeuroImage*. 2012.

Özarslan E, Koay CG, Shepherd TM, et al. Mean apparent propagator MRI

(MAP-MRI): a novel diffusion imaging method for mapping tissue microstructure. *NeuroImage*. 2013.

Klein A, Tourville J. 101 labeled brain images and a consistent human

cortical labeling protocol. *Frontiers in Neuroscience*. 2012.

## Conclusion

FreeSurfer, QSIPrep, and QSIRecon all combine published methods with original software engineering. The correct interpretation is:

FreeSurfer developed many foundational segmentation and surface algorithms,

but not every executable has a separate paper.

QSIPrep integrates established preprocessing tools while contributing

adaptive BIDS workflows, SHORELine, standardized transformations, derivatives, QC, and validation.

QSIRecon primarily integrates independently published reconstruction methods

through an original declarative workflow and interoperability framework.

Scientific credit should therefore be assigned at both levels: cite the pipeline that organized the analysis and the specialized underlying method when that method is central to the scientific claim.